## Fluorescence 1_01
Measurement results
Trial Run 1
12/2/2022 2:45:36 PM
Fluorescence 1
Ex 485 nm, Em 510 nm
Plate 1
Reading | avg. time [s] | sfgfp0001 (N21) | sfgfp0002 (N22)
1 | 0 | 2.604 | 1.846
2 | 300 | 2.446 | 1.582
3 | 600 | 2.369 | 1.452
4 | 900 | 2.224 | 1.359
5 | 1200 | 2.193 | 1.349
6 | 1500 | 2.159 | 1.336
7 | 1800 | 2.15 | 1.293
8 | 2100 | 2.077 | 1.232
9 | 2400 | 2.052 | 1.222
10 | 2700 | 2.004 | 1.257
11 | 3000 | 2.059 | 1.205
12 | 3300 | 1.988 | 1.195
13 | 3600 | 1.949 | 1.153
14 | 3900 | 1.977 | 1.214
15 | 4200 | 1.932 | 1.194
16 | 4500 | 1.923 | 1.159
17 | 4800 | 1.927 | 1.208
18 | 5100 | 1.928 | 1.157
19 | 5400 | 1.921 | 1.207
20 | 5700 | 1.968 | 1.198
21 | 6000 | 1.917 | 1.143
22 | 6300 | 1.9 | 1.196
23 | 6600 | 1.968 | 1.201
24 | 6900 | 1.89 | 1.151
25 | 7200 | 1.883 | 1.204
26 | 7500 | 1.894 | 1.173
27 | 7800 | 1.934 | 1.128
28 | 8100 | 1.869 | 1.122
29 | 8400 | 1.901 | 1.157
30 | 8700 | 1.777 | 1.134
31 | 9000 | 1.81 | 1.206
32 | 9300 | 1.766 | 1.142
33 | 9600 | 1.809 | 1.173
34 | 9900 | 1.756 | 1.142
35 | 10200 | 1.761 | 1.13
36 | 10500 | 1.764 | 1.141
37 | 10800 | 1.736 | 1.138
38 | 11100 | 1.674 | 1.163
39 | 11400 | 1.687 | 1.156
40 | 11700 | 1.695 | 1.205
41 | 12000 | 1.69 | 1.239
42 | 12300 | 1.596 | 1.267
43 | 12600 | 1.633 | 1.245
44 | 12900 | 1.604 | 1.247
45 | 13200 | 1.593 | 1.271
46 | 13500 | 1.556 | 1.301
47 | 13800 | 1.563 | 1.274
48 | 14100 | 1.519 | 1.312
49 | 14400 | 1.484 | 1.254
50 | 14700 | 1.505 | 1.341
51 | 15000 | 1.469 | 1.301
52 | 15300 | 1.483 | 1.311
53 | 15600 | 1.469 | 1.367
54 | 15900 | 1.39 | 1.341
55 | 16200 | 1.379 | 1.349
56 | 16500 | 1.362 | 1.36
57 | 16800 | 1.359 | 1.325
58 | 17100 | 1.334 | 1.308
59 | 17400 | 1.375 | 1.334
60 | 17700 | 1.32 | 1.286
61 | 18000 | 1.307 | 1.287
62 | 18300 | 1.284 | 1.348
63 | 18600 | 1.33 | 1.283
64 | 18900 | 1.317 | 1.316
65 | 19200 | 1.306 | 1.238
66 | 19500 | 1.234 | 1.25
67 | 19800 | 1.257 | 1.296
68 | 20100 | 1.29 | 1.325
69 | 20400 | 1.241 | 1.229
70 | 20700 | 1.268 | 1.224
71 | 21000 | 1.274 | 1.225
72 | 21300 | 1.289 | 1.254
73 | 21600 | 1.289 | 1.233
74 | 21900 | 1.235 | 1.203
75 | 22200 | 1.249 | 1.248
76 | 22500 | 1.262 | 1.149
77 | 22800 | 1.268 | 1.166
78 | 23100 | 1.224 | 1.194
79 | 23400 | 1.203 | 1.151
80 | 23700 | 1.209 | 1.131
81 | 24000 | 1.202 | 1.089
82 | 24300 | 1.175 | 1.123
83 | 24600 | 1.177 | 1.116
84 | 24900 | 1.162 | 1.104
85 | 25200 | 1.125 | 1.115
86 | 25500 | 1.161 | 1.125
87 | 25800 | 1.138 | 1.101
88 | 26100 | 1.144 | 1.034
89 | 26400 | 1.161 | 1.021
90 | 26700 | 1.139 | 1.086
91 | 27000 | 1.123 | 1.035
92 | 27300 | 1.1 | 1.035
93 | 27600 | 1.071 | 1.006
94 | 27900 | 1.079 | 1.027
95 | 28200 | 1.071 | 0.9787
96 | 28500 | 1.051 | 1.018
97 | 28800 | 1.06 | 0.9596
98 | 29100 | 1.055 | 0.9231
99 | 29400 | 1.059 | 0.9453
100 | 29700 | 1.062 | 0.9428
101 | 30000 | 1.023 | 0.9351
102 | 30300 | 1.034 | 0.9025
103 | 30600 | 1.065 | 0.9123
104 | 30900 | 1.07 | 0.9182
105 | 31200 | 1.047 | 0.9349
106 | 31500 | 1.076 | 0.8772
107 | 31800 | 1.024 | 0.8934
108 | 32100 | 1.03 | 0.906
109 | 32400 | 1.035 | 0.8936
110 | 32700 | 1.001 | 0.8375
111 | 33000 | 0.9986 | 0.8855
112 | 33300 | 0.9884 | 0.8722
113 | 33600 | 0.9924 | 0.8878
114 | 33900 | 0.9516 | 0.8859
115 | 34200 | 0.9823 | 0.8798
116 | 34500 | 0.9965 | 0.8574
117 | 34800 | 0.9758 | 0.842
118 | 35100 | 0.9621 | 0.8673
119 | 35400 | 0.9773 | 0.811
120 | 35700 | 0.9556 | 0.8293
121 | 36000 | 0.9706 | 0.8201
122 | 36300 | 1.021 | 0.821
123 | 36600 | 0.9814 | 0.8423
124 | 36900 | 0.9721 | 0.8447
125 | 37200 | 0.9221 | 0.801
126 | 37500 | 0.946 | 0.8456
127 | 37800 | 0.9266 | 0.8467
128 | 38100 | 0.9459 | 0.8341
129 | 38400 | 0.9033 | 0.7828
130 | 38700 | 0.9458 | 0.7905
131 | 39000 | 0.9543 | 0.8014
132 | 39300 | 0.9539 | 0.7897
133 | 39600 | 0.9138 | 0.7688
134 | 39900 | 0.9079 | 0.7916
135 | 40200 | 0.9114 | 0.7784
136 | 40500 | 0.9244 | 0.7521
137 | 40800 | 0.9457 | 0.7824
138 | 41100 | 0.9112 | 0.7955
139 | 41400 | 0.9449 | 0.7689
140 | 41700 | 0.9439 | 0.7819
141 | 42000 | 0.9341 | 0.7849
142 | 42300 | 0.9085 | 0.7729
143 | 42600 | 0.9344 | 0.7984
144 | 42900 | 0.9362 | 0.752
145 | 43200 | 0.95 | 0.7615
146 | 43500 | 0.9414 | 0.7468
147 | 43800 | 0.9532 | 0.7634
148 | 44100 | 0.9509 | 0.7731
149 | 44400 | 0.9189 | 0.7761
150 | 44700 | 0.9202 | 0.7071
151 | 45000 | 0.9399 | 0.7438
152 | 45300 | 0.9266 | 0.7502
153 | 45600 | 0.9518 | 0.7387
154 | 45900 | 0.9017 | 0.7404
155 | 46200 | 0.916 | 0.7314
156 | 46500 | 0.9147 | 0.7313
157 | 46800 | 0.9026 | 0.7174
158 | 47100 | 0.8843 | 0.7248
159 | 47400 | 0.9219 | 0.7339
160 | 47700 | 0.924 | 0.7242
161 | 48000 | 0.9463 | 0.7325
162 | 48300 | 0.8962 | 0.7261
163 | 48600 | 0.9281 | 0.7189
164 | 48900 | 0.9174 | 0.7462
165 | 49200 | 0.9017 | 0.7262
166 | 49500 | 0.9306 | 0.7282
167 | 49800 | 0.881 | 0.7312
168 | 50100 | 0.9255 | 0.7405
169 | 50400 | 0.9025 | 0.7406
170 | 50700 | 0.8977 | 0.7192
171 | 51000 | 0.8966 | 0.7224
172 | 51300 | 0.925 | 0.6807
173 | 51600 | 0.8979 | 0.7118
174 | 51900 | 0.9294 | 0.6991
175 | 52200 | 0.8951 | 0.6979
176 | 52500 | 0.8894 | 0.6908
177 | 52800 | 0.9096 | 0.7092
178 | 53100 | 0.8792 | 0.7166
179 | 53400 | 0.8886 | 0.7323
180 | 53700 | 0.889 | 0.7037
181 | 54000 | 0.8633 | 0.7212
182 | 54300 | 0.8889 | 0.7093
183 | 54600 | 0.882 | 0.7294
184 | 54900 | 0.8858 | 0.6846
185 | 55200 | 0.8856 | 0.7325
186 | 55500 | 0.8729 | 0.6989
187 | 55800 | 0.9271 | 0.7423
188 | 56100 | 0.9383 | 0.7687
189 | 56400 | 0.9553 | 0.7486
190 | 56700 | 0.934 | 0.759
191 | 57000 | 0.9104 | 0.753
192 | 57300 | 0.9203 | 0.7214
193 | 57600 | 0.9451 | 0.6896

## Result summary
Results summary
No results

## General information
General information
| Software version | SkanIt Software 5.0 for Microplate Readers RE, ver. 5.0.0.42
| Optical response compensation | Yes

## Session information
Session information
| Session name | Trial Run 1
| Session notes | trial run- sfgfp
10nM of sfgfp in rx, with Abhi extract s30.. just thats it
| Software version | SkanIt Software for Microplate Readers RE, ver. 5.0.0.42
| Execution time | 12/2/2022 2:45:36 PM
| User | EN-CB-LO2222-01\varioskan

## Instrument information
Instrument information
| Name |  | Varioskan LUX
| ESW version |  | 1.00.37
| Set temperature |  | 30.00 °C
| Serial number |  | 3020-1001
Instrument modules
|  | Module's name | LAT module
|  | Module's serial number | LL182603
|  | Plate adapter name | 384-well adapter for plate without lid
|  | Plate adapter number | 4
|  | Incubator | Yes
|  | Gas control | No
|  | Top optics | Yes
|  | Bottom optics | Yes
|  | Dispenser | No

## Protocol parameters
Protocol parameters
| Measurement order |  | 3
| Use settle delay |  | No
| Check temperature at start [°C] |  | No
Kinetic Loop 1
| No. of readings |  | 193
| Total time [d] [hh:mm:ss] |  | 16:00:00
| Kinetic Interval [hh:mm:ss] |  | 00:05:00
Fluorescence 1
Wavelengths
|  |  |  | Excitation [nm] | 485
|  |  |  | Emission [nm] | 510
|  |  | Optics |  | Top
|  |  | Excitation bandwidth [nm] |  | 12
|  |  | Dynamic Range |  | Automatic
|  |  | Measurement Time [ms] |  | 100

## Run log
Run log
| Time | Event | Information
| 12/2/2022 2:45:38 PM | Session Trial Run 1 started
| 12/2/2022 2:45:38 PM | Temperature | 30.0°C
| 12/2/2022 2:45:39 PM | Step Kinetic Loop 1 started
| 12/2/2022 2:45:39 PM | Step Fluorescence 1 started
| 12/2/2022 2:45:45 PM | Calibration | Fluorometric 1.06322 864901325
| 12/2/2022 2:45:45 PM | Kinetic reading changed | Reading: 1 No. of readings: 193
| 12/2/2022 2:46:26 PM | Temperature | 30.1°C
| 12/2/2022 2:47:26 PM | Temperature | 30.0°C
| 12/2/2022 2:48:26 PM | Temperature | 30.0°C
| 12/2/2022 2:49:26 PM | Temperature | 30.0°C
| 12/2/2022 2:50:26 PM | Temperature | 30.0°C
| 12/2/2022 2:50:42 PM | Calibration | Fluorometric 1.06277 864931086
| 12/2/2022 2:50:45 PM | Kinetic reading changed | Reading: 2 No. of readings: 193
| 12/2/2022 2:51:26 PM | Temperature | 30.0°C
| 12/2/2022 2:52:26 PM | Temperature | 30.0°C
| 12/2/2022 2:53:26 PM | Temperature | 30.0°C
| 12/2/2022 2:54:26 PM | Temperature | 30.0°C
| 12/2/2022 2:55:26 PM | Temperature | 30.0°C
| 12/2/2022 2:55:42 PM | Calibration | Fluorometric 1.06194 864961086
| 12/2/2022 2:55:45 PM | Kinetic reading changed | Reading: 3 No. of readings: 193
| 12/2/2022 2:56:26 PM | Temperature | 30.1°C
| 12/2/2022 2:57:26 PM | Temperature | 30.0°C
| 12/2/2022 2:58:26 PM | Temperature | 30.0°C
| 12/2/2022 2:59:26 PM | Temperature | 30.0°C
| 12/2/2022 3:00:26 PM | Temperature | 30.0°C
| 12/2/2022 3:00:42 PM | Calibration | Fluorometric 1.06102 864991086
| 12/2/2022 3:00:45 PM | Kinetic reading changed | Reading: 4 No. of readings: 193
| 12/2/2022 3:01:26 PM | Temperature | 30.0°C
| 12/2/2022 3:02:26 PM | Temperature | 30.0°C
| 12/2/2022 3:03:26 PM | Temperature | 30.0°C
| 12/2/2022 3:04:26 PM | Temperature | 30.0°C
| 12/2/2022 3:05:26 PM | Temperature | 30.0°C
| 12/2/2022 3:05:42 PM | Calibration | Fluorometric 1.0602 865021086
| 12/2/2022 3:05:45 PM | Kinetic reading changed | Reading: 5 No. of readings: 193
| 12/2/2022 3:06:26 PM | Temperature | 30.0°C
| 12/2/2022 3:07:26 PM | Temperature | 30.0°C
| 12/2/2022 3:08:26 PM | Temperature | 30.0°C
| 12/2/2022 3:09:26 PM | Temperature | 30.0°C
| 12/2/2022 3:10:26 PM | Temperature | 30.0°C
| 12/2/2022 3:10:42 PM | Calibration | Fluorometric 1.05899 865051086
| 12/2/2022 3:10:45 PM | Kinetic reading changed | Reading: 6 No. of readings: 193
| 12/2/2022 3:11:26 PM | Temperature | 30.0°C
| 12/2/2022 3:12:26 PM | Temperature | 30.0°C
| 12/2/2022 3:13:26 PM | Temperature | 30.0°C
| 12/2/2022 3:14:26 PM | Temperature | 30.0°C
| 12/2/2022 3:15:26 PM | Temperature | 30.0°C
| 12/2/2022 3:15:42 PM | Calibration | Fluorometric 1.05796 865081086
| 12/2/2022 3:15:45 PM | Kinetic reading changed | Reading: 7 No. of readings: 193
| 12/2/2022 3:16:26 PM | Temperature | 30.0°C
| 12/2/2022 3:17:26 PM | Temperature | 30.0°C
| 12/2/2022 3:18:26 PM | Temperature | 30.0°C
| 12/2/2022 3:19:26 PM | Temperature | 30.0°C
| 12/2/2022 3:20:26 PM | Temperature | 30.0°C
| 12/2/2022 3:20:42 PM | Calibration | Fluorometric 1.057 865111086
| 12/2/2022 3:20:45 PM | Kinetic reading changed | Reading: 8 No. of readings: 193
| 12/2/2022 3:21:26 PM | Temperature | 30.0°C
| 12/2/2022 3:22:26 PM | Temperature | 30.0°C
| 12/2/2022 3:23:26 PM | Temperature | 30.0°C
| 12/2/2022 3:24:26 PM | Temperature | 30.0°C
| 12/2/2022 3:25:26 PM | Temperature | 30.0°C
| 12/2/2022 3:25:42 PM | Calibration | Fluorometric 1.05615 865141086
| 12/2/2022 3:25:45 PM | Kinetic reading changed | Reading: 9 No. of readings: 193
| 12/2/2022 3:26:26 PM | Temperature | 30.1°C
| 12/2/2022 3:27:26 PM | Temperature | 30.1°C
| 12/2/2022 3:28:26 PM | Temperature | 30.0°C
| 12/2/2022 3:29:26 PM | Temperature | 30.1°C
| 12/2/2022 3:30:26 PM | Temperature | 30.0°C
| 12/2/2022 3:30:42 PM | Calibration | Fluorometric 1.05557 865171086
| 12/2/2022 3:30:45 PM | Kinetic reading changed | Reading: 10 No. of readings: 193
| 12/2/2022 3:31:26 PM | Temperature | 30.0°C
| 12/2/2022 3:32:26 PM | Temperature | 30.0°C
| 12/2/2022 3:33:26 PM | Temperature | 30.1°C
| 12/2/2022 3:34:26 PM | Temperature | 30.0°C
| 12/2/2022 3:35:26 PM | Temperature | 30.0°C
| 12/2/2022 3:35:42 PM | Calibration | Fluorometric 1.055 865201086
| 12/2/2022 3:35:45 PM | Kinetic reading changed | Reading: 11 No. of readings: 193
| 12/2/2022 3:36:26 PM | Temperature | 30.0°C
| 12/2/2022 3:37:26 PM | Temperature | 30.0°C
| 12/2/2022 3:38:26 PM | Temperature | 30.0°C
| 12/2/2022 3:39:26 PM | Temperature | 30.0°C
| 12/2/2022 3:40:26 PM | Temperature | 30.0°C
| 12/2/2022 3:40:42 PM | Calibration | Fluorometric 1.05452 865231086
| 12/2/2022 3:40:45 PM | Kinetic reading changed | Reading: 12 No. of readings: 193
| 12/2/2022 3:41:26 PM | Temperature | 30.0°C
| 12/2/2022 3:42:26 PM | Temperature | 30.0°C
| 12/2/2022 3:43:26 PM | Temperature | 30.0°C
| 12/2/2022 3:44:26 PM | Temperature | 30.0°C
| 12/2/2022 3:45:26 PM | Temperature | 30.1°C
| 12/2/2022 3:45:42 PM | Calibration | Fluorometric 1.05411 865261086
| 12/2/2022 3:45:45 PM | Kinetic reading changed | Reading: 13 No. of readings: 193
| 12/2/2022 3:46:26 PM | Temperature | 30.1°C
| 12/2/2022 3:47:26 PM | Temperature | 30.0°C
| 12/2/2022 3:48:26 PM | Temperature | 30.0°C
| 12/2/2022 3:49:26 PM | Temperature | 30.0°C
| 12/2/2022 3:50:26 PM | Temperature | 30.0°C
| 12/2/2022 3:50:42 PM | Calibration | Fluorometric 1.0539 865291086
| 12/2/2022 3:50:45 PM | Kinetic reading changed | Reading: 14 No. of readings: 193
| 12/2/2022 3:51:26 PM | Temperature | 30.0°C
| 12/2/2022 3:52:26 PM | Temperature | 30.0°C
| 12/2/2022 3:53:26 PM | Temperature | 30.0°C
| 12/2/2022 3:54:26 PM | Temperature | 30.0°C
| 12/2/2022 3:55:26 PM | Temperature | 30.0°C
| 12/2/2022 3:55:42 PM | Calibration | Fluorometric 1.05362 865321086
| 12/2/2022 3:55:45 PM | Kinetic reading changed | Reading: 15 No. of readings: 193
| 12/2/2022 3:56:26 PM | Temperature | 30.1°C
| 12/2/2022 3:57:26 PM | Temperature | 30.0°C
| 12/2/2022 3:58:26 PM | Temperature | 30.0°C
| 12/2/2022 3:59:26 PM | Temperature | 30.0°C
| 12/2/2022 4:00:26 PM | Temperature | 30.0°C
| 12/2/2022 4:00:42 PM | Calibration | Fluorometric 1.05341 865351086
| 12/2/2022 4:00:45 PM | Kinetic reading changed | Reading: 16 No. of readings: 193
| 12/2/2022 4:01:26 PM | Temperature | 30.0°C
| 12/2/2022 4:02:26 PM | Temperature | 30.0°C
| 12/2/2022 4:03:26 PM | Temperature | 30.0°C
| 12/2/2022 4:04:26 PM | Temperature | 30.0°C
| 12/2/2022 4:05:26 PM | Temperature | 30.0°C
| 12/2/2022 4:05:42 PM | Calibration | Fluorometric 1.05332 865381086
| 12/2/2022 4:05:45 PM | Kinetic reading changed | Reading: 17 No. of readings: 193
| 12/2/2022 4:06:26 PM | Temperature | 30.0°C
| 12/2/2022 4:07:26 PM | Temperature | 30.1°C
| 12/2/2022 4:08:26 PM | Temperature | 30.0°C
| 12/2/2022 4:09:26 PM | Temperature | 30.0°C
| 12/2/2022 4:10:26 PM | Temperature | 30.0°C
| 12/2/2022 4:10:42 PM | Calibration | Fluorometric 1.05328 865411086
| 12/2/2022 4:10:45 PM | Kinetic reading changed | Reading: 18 No. of readings: 193
| 12/2/2022 4:11:26 PM | Temperature | 30.0°C
| 12/2/2022 4:12:26 PM | Temperature | 30.0°C
| 12/2/2022 4:13:26 PM | Temperature | 30.0°C
| 12/2/2022 4:14:26 PM | Temperature | 30.0°C
| 12/2/2022 4:15:26 PM | Temperature | 30.0°C
| 12/2/2022 4:15:42 PM | Calibration | Fluorometric 1.0532 865441086
| 12/2/2022 4:15:45 PM | Kinetic reading changed | Reading: 19 No. of readings: 193
| 12/2/2022 4:16:26 PM | Temperature | 30.0°C
| 12/2/2022 4:17:26 PM | Temperature | 30.0°C
| 12/2/2022 4:18:26 PM | Temperature | 30.0°C
| 12/2/2022 4:19:26 PM | Temperature | 30.0°C
| 12/2/2022 4:20:26 PM | Temperature | 30.0°C
| 12/2/2022 4:20:42 PM | Calibration | Fluorometric 1.05316 865471086
| 12/2/2022 4:20:45 PM | Kinetic reading changed | Reading: 20 No. of readings: 193
| 12/2/2022 4:21:26 PM | Temperature | 30.0°C
| 12/2/2022 4:22:26 PM | Temperature | 30.0°C
| 12/2/2022 4:23:26 PM | Temperature | 30.0°C
| 12/2/2022 4:24:26 PM | Temperature | 30.0°C
| 12/2/2022 4:25:26 PM | Temperature | 30.0°C
| 12/2/2022 4:25:42 PM | Calibration | Fluorometric 1.05298 865501086
| 12/2/2022 4:25:45 PM | Kinetic reading changed | Reading: 21 No. of readings: 193
| 12/2/2022 4:26:26 PM | Temperature | 30.0°C
| 12/2/2022 4:27:26 PM | Temperature | 30.0°C
| 12/2/2022 4:28:26 PM | Temperature | 30.0°C
| 12/2/2022 4:29:26 PM | Temperature | 30.0°C
| 12/2/2022 4:30:26 PM | Temperature | 30.1°C
| 12/2/2022 4:30:42 PM | Calibration | Fluorometric 1.05278 865531086
| 12/2/2022 4:30:45 PM | Kinetic reading changed | Reading: 22 No. of readings: 193
| 12/2/2022 4:31:26 PM | Temperature | 30.0°C
| 12/2/2022 4:32:26 PM | Temperature | 30.0°C
| 12/2/2022 4:33:26 PM | Temperature | 30.0°C
| 12/2/2022 4:34:26 PM | Temperature | 30.0°C
| 12/2/2022 4:35:26 PM | Temperature | 30.0°C
| 12/2/2022 4:35:42 PM | Calibration | Fluorometric 1.05278 865561086
| 12/2/2022 4:35:45 PM | Kinetic reading changed | Reading: 23 No. of readings: 193
| 12/2/2022 4:36:26 PM | Temperature | 30.0°C
| 12/2/2022 4:37:26 PM | Temperature | 30.0°C
| 12/2/2022 4:38:26 PM | Temperature | 30.1°C
| 12/2/2022 4:39:26 PM | Temperature | 30.0°C
| 12/2/2022 4:40:26 PM | Temperature | 30.0°C
| 12/2/2022 4:40:42 PM | Calibration | Fluorometric 1.05268 865591086
| 12/2/2022 4:40:45 PM | Kinetic reading changed | Reading: 24 No. of readings: 193
| 12/2/2022 4:41:26 PM | Temperature | 30.0°C
| 12/2/2022 4:42:26 PM | Temperature | 30.0°C
| 12/2/2022 4:43:26 PM | Temperature | 30.0°C
| 12/2/2022 4:44:26 PM | Temperature | 30.0°C
| 12/2/2022 4:45:26 PM | Temperature | 30.0°C
| 12/2/2022 4:45:42 PM | Calibration | Fluorometric 1.05269 865621086
| 12/2/2022 4:45:45 PM | Kinetic reading changed | Reading: 25 No. of readings: 193
| 12/2/2022 4:46:26 PM | Temperature | 30.0°C
| 12/2/2022 4:47:26 PM | Temperature | 30.0°C
| 12/2/2022 4:48:26 PM | Temperature | 30.0°C
| 12/2/2022 4:49:26 PM | Temperature | 30.0°C
| 12/2/2022 4:50:26 PM | Temperature | 30.0°C
| 12/2/2022 4:50:42 PM | Calibration | Fluorometric 1.05265 865651086
| 12/2/2022 4:50:45 PM | Kinetic reading changed | Reading: 26 No. of readings: 193
| 12/2/2022 4:51:26 PM | Temperature | 30.0°C
| 12/2/2022 4:52:26 PM | Temperature | 30.0°C
| 12/2/2022 4:53:26 PM | Temperature | 30.0°C
| 12/2/2022 4:54:26 PM | Temperature | 30.1°C
| 12/2/2022 4:55:26 PM | Temperature | 30.0°C
| 12/2/2022 4:55:42 PM | Calibration | Fluorometric 1.05255 865681086
| 12/2/2022 4:55:45 PM | Kinetic reading changed | Reading: 27 No. of readings: 193
| 12/2/2022 4:56:26 PM | Temperature | 30.0°C
| 12/2/2022 4:57:26 PM | Temperature | 30.1°C
| 12/2/2022 4:58:26 PM | Temperature | 30.0°C
| 12/2/2022 4:59:26 PM | Temperature | 30.0°C
| 12/2/2022 5:00:26 PM | Temperature | 30.0°C
| 12/2/2022 5:00:42 PM | Calibration | Fluorometric 1.05254 865711086
| 12/2/2022 5:00:45 PM | Kinetic reading changed | Reading: 28 No. of readings: 193
| 12/2/2022 5:01:26 PM | Temperature | 30.0°C
| 12/2/2022 5:02:26 PM | Temperature | 30.0°C
| 12/2/2022 5:03:26 PM | Temperature | 30.0°C
| 12/2/2022 5:04:26 PM | Temperature | 30.0°C
| 12/2/2022 5:05:26 PM | Temperature | 30.1°C
| 12/2/2022 5:05:42 PM | Calibration | Fluorometric 1.05257 865741086
| 12/2/2022 5:05:45 PM | Kinetic reading changed | Reading: 29 No. of readings: 193
| 12/2/2022 5:06:26 PM | Temperature | 30.1°C
| 12/2/2022 5:07:26 PM | Temperature | 30.0°C
| 12/2/2022 5:08:26 PM | Temperature | 30.0°C
| 12/2/2022 5:09:26 PM | Temperature | 30.1°C
| 12/2/2022 5:10:26 PM | Temperature | 30.0°C
| 12/2/2022 5:10:42 PM | Calibration | Fluorometric 1.05272 865771086
| 12/2/2022 5:10:45 PM | Kinetic reading changed | Reading: 30 No. of readings: 193
| 12/2/2022 5:11:26 PM | Temperature | 30.0°C
| 12/2/2022 5:12:26 PM | Temperature | 30.0°C
| 12/2/2022 5:13:26 PM | Temperature | 30.0°C
| 12/2/2022 5:14:26 PM | Temperature | 30.1°C
| 12/2/2022 5:15:26 PM | Temperature | 30.0°C
| 12/2/2022 5:15:42 PM | Calibration | Fluorometric 1.05267 865801086
| 12/2/2022 5:15:45 PM | Kinetic reading changed | Reading: 31 No. of readings: 193
| 12/2/2022 5:16:26 PM | Temperature | 30.0°C
| 12/2/2022 5:17:26 PM | Temperature | 30.1°C
| 12/2/2022 5:18:26 PM | Temperature | 30.0°C
| 12/2/2022 5:19:26 PM | Temperature | 30.0°C
| 12/2/2022 5:20:26 PM | Temperature | 30.0°C
| 12/2/2022 5:20:42 PM | Calibration | Fluorometric 1.05254 865831086
| 12/2/2022 5:20:45 PM | Kinetic reading changed | Reading: 32 No. of readings: 193
| 12/2/2022 5:21:26 PM | Temperature | 30.0°C
| 12/2/2022 5:22:26 PM | Temperature | 30.0°C
| 12/2/2022 5:23:26 PM | Temperature | 30.0°C
| 12/2/2022 5:24:26 PM | Temperature | 30.0°C
| 12/2/2022 5:25:26 PM | Temperature | 30.0°C
| 12/2/2022 5:25:42 PM | Calibration | Fluorometric 1.05257 865861086
| 12/2/2022 5:25:45 PM | Kinetic reading changed | Reading: 33 No. of readings: 193
| 12/2/2022 5:26:26 PM | Temperature | 30.0°C
| 12/2/2022 5:27:26 PM | Temperature | 30.0°C
| 12/2/2022 5:28:26 PM | Temperature | 30.0°C
| 12/2/2022 5:29:26 PM | Temperature | 30.0°C
| 12/2/2022 5:30:26 PM | Temperature | 30.0°C
| 12/2/2022 5:30:42 PM | Calibration | Fluorometric 1.05263 865891086
| 12/2/2022 5:30:45 PM | Kinetic reading changed | Reading: 34 No. of readings: 193
| 12/2/2022 5:31:26 PM | Temperature | 30.0°C
| 12/2/2022 5:32:26 PM | Temperature | 30.0°C
| 12/2/2022 5:33:26 PM | Temperature | 30.0°C
| 12/2/2022 5:34:26 PM | Temperature | 30.0°C
| 12/2/2022 5:35:26 PM | Temperature | 30.0°C
| 12/2/2022 5:35:42 PM | Calibration | Fluorometric 1.0526 865921086
| 12/2/2022 5:35:45 PM | Kinetic reading changed | Reading: 35 No. of readings: 193
| 12/2/2022 5:36:26 PM | Temperature | 30.0°C
| 12/2/2022 5:37:26 PM | Temperature | 30.0°C
| 12/2/2022 5:38:26 PM | Temperature | 30.0°C
| 12/2/2022 5:39:26 PM | Temperature | 30.0°C
| 12/2/2022 5:40:26 PM | Temperature | 30.0°C
| 12/2/2022 5:40:42 PM | Calibration | Fluorometric 1.05262 865951086
| 12/2/2022 5:40:45 PM | Kinetic reading changed | Reading: 36 No. of readings: 193
| 12/2/2022 5:41:26 PM | Temperature | 30.0°C
| 12/2/2022 5:42:26 PM | Temperature | 30.0°C
| 12/2/2022 5:43:26 PM | Temperature | 30.0°C
| 12/2/2022 5:44:26 PM | Temperature | 30.0°C
| 12/2/2022 5:45:26 PM | Temperature | 30.0°C
| 12/2/2022 5:45:42 PM | Calibration | Fluorometric 1.05278 865981086
| 12/2/2022 5:45:45 PM | Kinetic reading changed | Reading: 37 No. of readings: 193
| 12/2/2022 5:46:26 PM | Temperature | 30.0°C
| 12/2/2022 5:47:26 PM | Temperature | 30.0°C
| 12/2/2022 5:48:26 PM | Temperature | 30.0°C
| 12/2/2022 5:49:26 PM | Temperature | 30.0°C
| 12/2/2022 5:50:26 PM | Temperature | 30.0°C
| 12/2/2022 5:50:42 PM | Calibration | Fluorometric 1.05283 866011086
| 12/2/2022 5:50:46 PM | Kinetic reading changed | Reading: 38 No. of readings: 193
| 12/2/2022 5:51:26 PM | Temperature | 30.0°C
| 12/2/2022 5:52:26 PM | Temperature | 30.0°C
| 12/2/2022 5:53:26 PM | Temperature | 30.0°C
| 12/2/2022 5:54:26 PM | Temperature | 30.0°C
| 12/2/2022 5:55:26 PM | Temperature | 30.0°C
| 12/2/2022 5:55:42 PM | Calibration | Fluorometric 1.05285 866041086
| 12/2/2022 5:55:46 PM | Kinetic reading changed | Reading: 39 No. of readings: 193
| 12/2/2022 5:56:26 PM | Temperature | 30.0°C
| 12/2/2022 5:57:26 PM | Temperature | 30.0°C
| 12/2/2022 5:58:26 PM | Temperature | 30.0°C
| 12/2/2022 5:59:26 PM | Temperature | 30.1°C
| 12/2/2022 6:00:26 PM | Temperature | 30.0°C
| 12/2/2022 6:00:42 PM | Calibration | Fluorometric 1.05287 866071086
| 12/2/2022 6:00:46 PM | Kinetic reading changed | Reading: 40 No. of readings: 193
| 12/2/2022 6:01:26 PM | Temperature | 30.0°C
| 12/2/2022 6:02:26 PM | Temperature | 30.0°C
| 12/2/2022 6:03:26 PM | Temperature | 30.0°C
| 12/2/2022 6:04:26 PM | Temperature | 30.0°C
| 12/2/2022 6:05:26 PM | Temperature | 30.0°C
| 12/2/2022 6:05:42 PM | Calibration | Fluorometric 1.05301 866101086
| 12/2/2022 6:05:46 PM | Kinetic reading changed | Reading: 41 No. of readings: 193
| 12/2/2022 6:06:26 PM | Temperature | 30.0°C
| 12/2/2022 6:07:26 PM | Temperature | 30.1°C
| 12/2/2022 6:08:26 PM | Temperature | 30.0°C
| 12/2/2022 6:09:26 PM | Temperature | 30.0°C
| 12/2/2022 6:10:26 PM | Temperature | 30.0°C
| 12/2/2022 6:10:42 PM | Calibration | Fluorometric 1.05289 866131086
| 12/2/2022 6:10:46 PM | Kinetic reading changed | Reading: 42 No. of readings: 193
| 12/2/2022 6:11:26 PM | Temperature | 30.0°C
| 12/2/2022 6:12:26 PM | Temperature | 30.0°C
| 12/2/2022 6:13:26 PM | Temperature | 30.0°C
| 12/2/2022 6:14:26 PM | Temperature | 30.0°C
| 12/2/2022 6:15:26 PM | Temperature | 30.0°C
| 12/2/2022 6:15:42 PM | Calibration | Fluorometric 1.05292 866161086
| 12/2/2022 6:15:46 PM | Kinetic reading changed | Reading: 43 No. of readings: 193
| 12/2/2022 6:16:26 PM | Temperature | 30.0°C
| 12/2/2022 6:17:26 PM | Temperature | 30.0°C
| 12/2/2022 6:18:26 PM | Temperature | 30.0°C
| 12/2/2022 6:19:26 PM | Temperature | 30.1°C
| 12/2/2022 6:20:26 PM | Temperature | 30.0°C
| 12/2/2022 6:20:42 PM | Calibration | Fluorometric 1.05301 866191086
| 12/2/2022 6:20:46 PM | Kinetic reading changed | Reading: 44 No. of readings: 193
| 12/2/2022 6:21:26 PM | Temperature | 30.0°C
| 12/2/2022 6:22:26 PM | Temperature | 30.0°C
| 12/2/2022 6:23:26 PM | Temperature | 30.0°C
| 12/2/2022 6:24:26 PM | Temperature | 30.0°C
| 12/2/2022 6:25:26 PM | Temperature | 30.0°C
| 12/2/2022 6:25:42 PM | Calibration | Fluorometric 1.05324 866221086
| 12/2/2022 6:25:46 PM | Kinetic reading changed | Reading: 45 No. of readings: 193
| 12/2/2022 6:26:26 PM | Temperature | 30.0°C
| 12/2/2022 6:27:26 PM | Temperature | 30.0°C
| 12/2/2022 6:28:26 PM | Temperature | 30.1°C
| 12/2/2022 6:29:26 PM | Temperature | 30.0°C
| 12/2/2022 6:30:26 PM | Temperature | 30.0°C
| 12/2/2022 6:30:42 PM | Calibration | Fluorometric 1.05351 866251086
| 12/2/2022 6:30:46 PM | Kinetic reading changed | Reading: 46 No. of readings: 193
| 12/2/2022 6:31:26 PM | Temperature | 30.0°C
| 12/2/2022 6:32:26 PM | Temperature | 30.0°C
| 12/2/2022 6:33:26 PM | Temperature | 30.0°C
| 12/2/2022 6:34:26 PM | Temperature | 30.0°C
| 12/2/2022 6:35:26 PM | Temperature | 30.1°C
| 12/2/2022 6:35:42 PM | Calibration | Fluorometric 1.05354 866281086
| 12/2/2022 6:35:46 PM | Kinetic reading changed | Reading: 47 No. of readings: 193
| 12/2/2022 6:36:26 PM | Temperature | 30.0°C
| 12/2/2022 6:37:26 PM | Temperature | 30.0°C
| 12/2/2022 6:38:26 PM | Temperature | 30.0°C
| 12/2/2022 6:39:26 PM | Temperature | 30.0°C
| 12/2/2022 6:40:26 PM | Temperature | 30.0°C
| 12/2/2022 6:40:42 PM | Calibration | Fluorometric 1.05355 866311086
| 12/2/2022 6:40:46 PM | Kinetic reading changed | Reading: 48 No. of readings: 193
| 12/2/2022 6:41:26 PM | Temperature | 30.0°C
| 12/2/2022 6:42:26 PM | Temperature | 30.0°C
| 12/2/2022 6:43:26 PM | Temperature | 30.0°C
| 12/2/2022 6:44:26 PM | Temperature | 30.0°C
| 12/2/2022 6:45:26 PM | Temperature | 30.0°C
| 12/2/2022 6:45:42 PM | Calibration | Fluorometric 1.05351 866341086
| 12/2/2022 6:45:46 PM | Kinetic reading changed | Reading: 49 No. of readings: 193
| 12/2/2022 6:46:26 PM | Temperature | 30.0°C
| 12/2/2022 6:47:26 PM | Temperature | 30.0°C
| 12/2/2022 6:48:26 PM | Temperature | 30.0°C
| 12/2/2022 6:49:26 PM | Temperature | 30.0°C
| 12/2/2022 6:50:26 PM | Temperature | 30.0°C
| 12/2/2022 6:50:42 PM | Calibration | Fluorometric 1.05333 866371086
| 12/2/2022 6:50:46 PM | Kinetic reading changed | Reading: 50 No. of readings: 193
| 12/2/2022 6:51:26 PM | Temperature | 30.0°C
| 12/2/2022 6:52:26 PM | Temperature | 30.0°C
| 12/2/2022 6:53:26 PM | Temperature | 30.0°C
| 12/2/2022 6:54:26 PM | Temperature | 30.0°C
| 12/2/2022 6:55:26 PM | Temperature | 30.0°C
| 12/2/2022 6:55:42 PM | Calibration | Fluorometric 1.0533 866401086
| 12/2/2022 6:55:46 PM | Kinetic reading changed | Reading: 51 No. of readings: 193
| 12/2/2022 6:56:26 PM | Temperature | 30.0°C
| 12/2/2022 6:57:26 PM | Temperature | 30.0°C
| 12/2/2022 6:58:26 PM | Temperature | 30.0°C
| 12/2/2022 6:59:26 PM | Temperature | 30.0°C
| 12/2/2022 7:00:26 PM | Temperature | 30.0°C
| 12/2/2022 7:00:42 PM | Calibration | Fluorometric 1.05319 866431086
| 12/2/2022 7:00:46 PM | Kinetic reading changed | Reading: 52 No. of readings: 193
| 12/2/2022 7:01:26 PM | Temperature | 30.1°C
| 12/2/2022 7:02:26 PM | Temperature | 30.0°C
| 12/2/2022 7:03:26 PM | Temperature | 30.0°C
| 12/2/2022 7:04:26 PM | Temperature | 30.0°C
| 12/2/2022 7:05:26 PM | Temperature | 30.0°C
| 12/2/2022 7:05:42 PM | Calibration | Fluorometric 1.05327 866461086
| 12/2/2022 7:05:46 PM | Kinetic reading changed | Reading: 53 No. of readings: 193
| 12/2/2022 7:06:26 PM | Temperature | 30.0°C
| 12/2/2022 7:07:26 PM | Temperature | 30.0°C
| 12/2/2022 7:08:26 PM | Temperature | 30.0°C
| 12/2/2022 7:09:26 PM | Temperature | 30.0°C
| 12/2/2022 7:10:26 PM | Temperature | 30.0°C
| 12/2/2022 7:10:42 PM | Calibration | Fluorometric 1.05326 866491086
| 12/2/2022 7:10:46 PM | Kinetic reading changed | Reading: 54 No. of readings: 193
| 12/2/2022 7:11:26 PM | Temperature | 30.0°C
| 12/2/2022 7:12:26 PM | Temperature | 30.0°C
| 12/2/2022 7:13:26 PM | Temperature | 30.0°C
| 12/2/2022 7:14:26 PM | Temperature | 30.0°C
| 12/2/2022 7:15:26 PM | Temperature | 30.0°C
| 12/2/2022 7:15:42 PM | Calibration | Fluorometric 1.05318 866521086
| 12/2/2022 7:15:46 PM | Kinetic reading changed | Reading: 55 No. of readings: 193
| 12/2/2022 7:16:26 PM | Temperature | 30.1°C
| 12/2/2022 7:17:26 PM | Temperature | 30.0°C
| 12/2/2022 7:18:26 PM | Temperature | 30.0°C
| 12/2/2022 7:19:26 PM | Temperature | 30.0°C
| 12/2/2022 7:20:26 PM | Temperature | 30.0°C
| 12/2/2022 7:20:42 PM | Calibration | Fluorometric 1.05318 866551086
| 12/2/2022 7:20:46 PM | Kinetic reading changed | Reading: 56 No. of readings: 193
| 12/2/2022 7:21:26 PM | Temperature | 30.0°C
| 12/2/2022 7:22:26 PM | Temperature | 30.0°C
| 12/2/2022 7:23:26 PM | Temperature | 30.0°C
| 12/2/2022 7:24:26 PM | Temperature | 30.0°C
| 12/2/2022 7:25:26 PM | Temperature | 30.0°C
| 12/2/2022 7:25:42 PM | Calibration | Fluorometric 1.05318 866581086
| 12/2/2022 7:25:46 PM | Kinetic reading changed | Reading: 57 No. of readings: 193
| 12/2/2022 7:26:26 PM | Temperature | 30.0°C
| 12/2/2022 7:27:26 PM | Temperature | 30.0°C
| 12/2/2022 7:28:26 PM | Temperature | 30.0°C
| 12/2/2022 7:29:26 PM | Temperature | 30.0°C
| 12/2/2022 7:30:26 PM | Temperature | 30.0°C
| 12/2/2022 7:30:42 PM | Calibration | Fluorometric 1.05313 866611086
| 12/2/2022 7:30:46 PM | Kinetic reading changed | Reading: 58 No. of readings: 193
| 12/2/2022 7:31:26 PM | Temperature | 30.0°C
| 12/2/2022 7:32:26 PM | Temperature | 30.0°C
| 12/2/2022 7:33:26 PM | Temperature | 30.0°C
| 12/2/2022 7:34:26 PM | Temperature | 30.0°C
| 12/2/2022 7:35:26 PM | Temperature | 30.0°C
| 12/2/2022 7:35:42 PM | Calibration | Fluorometric 1.05318 866641086
| 12/2/2022 7:35:46 PM | Kinetic reading changed | Reading: 59 No. of readings: 193
| 12/2/2022 7:36:26 PM | Temperature | 30.0°C
| 12/2/2022 7:37:26 PM | Temperature | 30.0°C
| 12/2/2022 7:38:26 PM | Temperature | 30.0°C
| 12/2/2022 7:39:26 PM | Temperature | 30.1°C
| 12/2/2022 7:40:26 PM | Temperature | 30.0°C
| 12/2/2022 7:40:42 PM | Calibration | Fluorometric 1.05318 866671086
| 12/2/2022 7:40:46 PM | Kinetic reading changed | Reading: 60 No. of readings: 193
| 12/2/2022 7:41:26 PM | Temperature | 30.0°C
| 12/2/2022 7:42:26 PM | Temperature | 30.0°C
| 12/2/2022 7:43:26 PM | Temperature | 30.0°C
| 12/2/2022 7:44:26 PM | Temperature | 30.0°C
| 12/2/2022 7:45:26 PM | Temperature | 30.0°C
| 12/2/2022 7:45:42 PM | Calibration | Fluorometric 1.0531 866701086
| 12/2/2022 7:45:46 PM | Kinetic reading changed | Reading: 61 No. of readings: 193
| 12/2/2022 7:46:26 PM | Temperature | 30.0°C
| 12/2/2022 7:47:26 PM | Temperature | 30.0°C
| 12/2/2022 7:48:26 PM | Temperature | 30.0°C
| 12/2/2022 7:49:26 PM | Temperature | 30.0°C
| 12/2/2022 7:50:26 PM | Temperature | 30.0°C
| 12/2/2022 7:50:42 PM | Calibration | Fluorometric 1.05319 866731086
| 12/2/2022 7:50:46 PM | Kinetic reading changed | Reading: 62 No. of readings: 193
| 12/2/2022 7:51:26 PM | Temperature | 30.0°C
| 12/2/2022 7:52:26 PM | Temperature | 30.0°C
| 12/2/2022 7:53:26 PM | Temperature | 30.0°C
| 12/2/2022 7:54:26 PM | Temperature | 30.0°C
| 12/2/2022 7:55:26 PM | Temperature | 30.0°C
| 12/2/2022 7:55:42 PM | Calibration | Fluorometric 1.053 866761086
| 12/2/2022 7:55:46 PM | Kinetic reading changed | Reading: 63 No. of readings: 193
| 12/2/2022 7:56:26 PM | Temperature | 30.0°C
| 12/2/2022 7:57:26 PM | Temperature | 30.0°C
| 12/2/2022 7:58:26 PM | Temperature | 30.0°C
| 12/2/2022 7:59:26 PM | Temperature | 30.1°C
| 12/2/2022 8:00:26 PM | Temperature | 30.0°C
| 12/2/2022 8:00:42 PM | Calibration | Fluorometric 1.05289 866791086
| 12/2/2022 8:00:46 PM | Kinetic reading changed | Reading: 64 No. of readings: 193
| 12/2/2022 8:01:26 PM | Temperature | 30.0°C
| 12/2/2022 8:02:26 PM | Temperature | 30.0°C
| 12/2/2022 8:03:26 PM | Temperature | 30.0°C
| 12/2/2022 8:04:26 PM | Temperature | 30.0°C
| 12/2/2022 8:05:26 PM | Temperature | 30.0°C
| 12/2/2022 8:05:42 PM | Calibration | Fluorometric 1.05283 866821086
| 12/2/2022 8:05:46 PM | Kinetic reading changed | Reading: 65 No. of readings: 193
| 12/2/2022 8:06:26 PM | Temperature | 30.0°C
| 12/2/2022 8:07:26 PM | Temperature | 30.0°C
| 12/2/2022 8:08:26 PM | Temperature | 30.0°C
| 12/2/2022 8:09:26 PM | Temperature | 30.0°C
| 12/2/2022 8:10:26 PM | Temperature | 30.0°C
| 12/2/2022 8:10:42 PM | Calibration | Fluorometric 1.05275 866851086
| 12/2/2022 8:10:46 PM | Kinetic reading changed | Reading: 66 No. of readings: 193
| 12/2/2022 8:11:26 PM | Temperature | 30.0°C
| 12/2/2022 8:12:26 PM | Temperature | 30.0°C
| 12/2/2022 8:13:26 PM | Temperature | 30.0°C
| 12/2/2022 8:14:26 PM | Temperature | 30.0°C
| 12/2/2022 8:15:26 PM | Temperature | 30.0°C
| 12/2/2022 8:15:42 PM | Calibration | Fluorometric 1.05264 866881086
| 12/2/2022 8:15:46 PM | Kinetic reading changed | Reading: 67 No. of readings: 193
| 12/2/2022 8:16:26 PM | Temperature | 30.0°C
| 12/2/2022 8:17:26 PM | Temperature | 30.0°C
| 12/2/2022 8:18:26 PM | Temperature | 30.0°C
| 12/2/2022 8:19:26 PM | Temperature | 30.0°C
| 12/2/2022 8:20:26 PM | Temperature | 30.0°C
| 12/2/2022 8:20:42 PM | Calibration | Fluorometric 1.05264 866911086
| 12/2/2022 8:20:46 PM | Kinetic reading changed | Reading: 68 No. of readings: 193
| 12/2/2022 8:21:26 PM | Temperature | 30.0°C
| 12/2/2022 8:22:26 PM | Temperature | 30.0°C
| 12/2/2022 8:23:26 PM | Temperature | 30.0°C
| 12/2/2022 8:24:26 PM | Temperature | 30.0°C
| 12/2/2022 8:25:26 PM | Temperature | 30.0°C
| 12/2/2022 8:25:42 PM | Calibration | Fluorometric 1.05254 866941086
| 12/2/2022 8:25:46 PM | Kinetic reading changed | Reading: 69 No. of readings: 193
| 12/2/2022 8:26:26 PM | Temperature | 30.0°C
| 12/2/2022 8:27:26 PM | Temperature | 30.0°C
| 12/2/2022 8:28:26 PM | Temperature | 30.0°C
| 12/2/2022 8:29:26 PM | Temperature | 30.0°C
| 12/2/2022 8:30:26 PM | Temperature | 30.0°C
| 12/2/2022 8:30:42 PM | Calibration | Fluorometric 1.05271 866971086
| 12/2/2022 8:30:46 PM | Kinetic reading changed | Reading: 70 No. of readings: 193
| 12/2/2022 8:31:26 PM | Temperature | 30.0°C
| 12/2/2022 8:32:26 PM | Temperature | 30.0°C
| 12/2/2022 8:33:26 PM | Temperature | 30.0°C
| 12/2/2022 8:34:26 PM | Temperature | 30.0°C
| 12/2/2022 8:35:26 PM | Temperature | 30.0°C
| 12/2/2022 8:35:42 PM | Calibration | Fluorometric 1.0529 867001086
| 12/2/2022 8:35:46 PM | Kinetic reading changed | Reading: 71 No. of readings: 193
| 12/2/2022 8:36:26 PM | Temperature | 30.0°C
| 12/2/2022 8:37:26 PM | Temperature | 30.0°C
| 12/2/2022 8:38:26 PM | Temperature | 30.0°C
| 12/2/2022 8:39:26 PM | Temperature | 30.0°C
| 12/2/2022 8:40:26 PM | Temperature | 30.0°C
| 12/2/2022 8:40:42 PM | Calibration | Fluorometric 1.05291 867031086
| 12/2/2022 8:40:46 PM | Kinetic reading changed | Reading: 72 No. of readings: 193
| 12/2/2022 8:41:26 PM | Temperature | 30.1°C
| 12/2/2022 8:42:26 PM | Temperature | 30.0°C
| 12/2/2022 8:43:26 PM | Temperature | 30.0°C
| 12/2/2022 8:44:26 PM | Temperature | 30.0°C
| 12/2/2022 8:45:26 PM | Temperature | 30.0°C
| 12/2/2022 8:45:42 PM | Calibration | Fluorometric 1.05271 867061086
| 12/2/2022 8:45:46 PM | Kinetic reading changed | Reading: 73 No. of readings: 193
| 12/2/2022 8:46:26 PM | Temperature | 30.0°C
| 12/2/2022 8:47:26 PM | Temperature | 30.0°C
| 12/2/2022 8:48:26 PM | Temperature | 30.0°C
| 12/2/2022 8:49:26 PM | Temperature | 30.0°C
| 12/2/2022 8:50:26 PM | Temperature | 30.1°C
| 12/2/2022 8:50:42 PM | Calibration | Fluorometric 1.05258 867091086
| 12/2/2022 8:50:46 PM | Kinetic reading changed | Reading: 74 No. of readings: 193
| 12/2/2022 8:51:26 PM | Temperature | 30.0°C
| 12/2/2022 8:52:26 PM | Temperature | 30.0°C
| 12/2/2022 8:53:26 PM | Temperature | 30.0°C
| 12/2/2022 8:54:26 PM | Temperature | 30.0°C
| 12/2/2022 8:55:26 PM | Temperature | 30.0°C
| 12/2/2022 8:55:42 PM | Calibration | Fluorometric 1.05253 867121086
| 12/2/2022 8:55:46 PM | Kinetic reading changed | Reading: 75 No. of readings: 193
| 12/2/2022 8:56:26 PM | Temperature | 30.0°C
| 12/2/2022 8:57:26 PM | Temperature | 30.0°C
| 12/2/2022 8:58:26 PM | Temperature | 30.0°C
| 12/2/2022 8:59:26 PM | Temperature | 30.0°C
| 12/2/2022 9:00:26 PM | Temperature | 30.0°C
| 12/2/2022 9:00:42 PM | Calibration | Fluorometric 1.05256 867151086
| 12/2/2022 9:00:46 PM | Kinetic reading changed | Reading: 76 No. of readings: 193
| 12/2/2022 9:01:26 PM | Temperature | 30.0°C
| 12/2/2022 9:02:26 PM | Temperature | 30.0°C
| 12/2/2022 9:03:26 PM | Temperature | 30.0°C
| 12/2/2022 9:04:26 PM | Temperature | 30.0°C
| 12/2/2022 9:05:26 PM | Temperature | 30.0°C
| 12/2/2022 9:05:42 PM | Calibration | Fluorometric 1.05259 867181086
| 12/2/2022 9:05:46 PM | Kinetic reading changed | Reading: 77 No. of readings: 193
| 12/2/2022 9:06:26 PM | Temperature | 30.0°C
| 12/2/2022 9:07:26 PM | Temperature | 30.0°C
| 12/2/2022 9:08:26 PM | Temperature | 30.0°C
| 12/2/2022 9:09:26 PM | Temperature | 30.0°C
| 12/2/2022 9:10:26 PM | Temperature | 30.0°C
| 12/2/2022 9:10:42 PM | Calibration | Fluorometric 1.05242 867211086
| 12/2/2022 9:10:46 PM | Kinetic reading changed | Reading: 78 No. of readings: 193
| 12/2/2022 9:11:26 PM | Temperature | 30.0°C
| 12/2/2022 9:12:26 PM | Temperature | 30.0°C
| 12/2/2022 9:13:26 PM | Temperature | 30.0°C
| 12/2/2022 9:14:26 PM | Temperature | 30.0°C
| 12/2/2022 9:15:26 PM | Temperature | 30.0°C
| 12/2/2022 9:15:42 PM | Calibration | Fluorometric 1.05237 867241086
| 12/2/2022 9:15:46 PM | Kinetic reading changed | Reading: 79 No. of readings: 193
| 12/2/2022 9:16:26 PM | Temperature | 30.0°C
| 12/2/2022 9:17:26 PM | Temperature | 30.0°C
| 12/2/2022 9:18:26 PM | Temperature | 30.0°C
| 12/2/2022 9:19:26 PM | Temperature | 30.1°C
| 12/2/2022 9:20:26 PM | Temperature | 30.0°C
| 12/2/2022 9:20:42 PM | Calibration | Fluorometric 1.05231 867271086
| 12/2/2022 9:20:46 PM | Kinetic reading changed | Reading: 80 No. of readings: 193
| 12/2/2022 9:21:26 PM | Temperature | 30.0°C
| 12/2/2022 9:22:26 PM | Temperature | 30.0°C
| 12/2/2022 9:23:26 PM | Temperature | 30.0°C
| 12/2/2022 9:24:26 PM | Temperature | 30.0°C
| 12/2/2022 9:25:26 PM | Temperature | 30.0°C
| 12/2/2022 9:25:42 PM | Calibration | Fluorometric 1.05242 867301086
| 12/2/2022 9:25:46 PM | Kinetic reading changed | Reading: 81 No. of readings: 193
| 12/2/2022 9:26:26 PM | Temperature | 30.0°C
| 12/2/2022 9:27:26 PM | Temperature | 30.0°C
| 12/2/2022 9:28:26 PM | Temperature | 30.0°C
| 12/2/2022 9:29:26 PM | Temperature | 30.0°C
| 12/2/2022 9:30:26 PM | Temperature | 30.0°C
| 12/2/2022 9:30:42 PM | Calibration | Fluorometric 1.05251 867331086
| 12/2/2022 9:30:46 PM | Kinetic reading changed | Reading: 82 No. of readings: 193
| 12/2/2022 9:31:26 PM | Temperature | 30.0°C
| 12/2/2022 9:32:26 PM | Temperature | 30.0°C
| 12/2/2022 9:33:26 PM | Temperature | 30.0°C
| 12/2/2022 9:34:26 PM | Temperature | 30.0°C
| 12/2/2022 9:35:26 PM | Temperature | 30.0°C
| 12/2/2022 9:35:42 PM | Calibration | Fluorometric 1.05252 867361086
| 12/2/2022 9:35:46 PM | Kinetic reading changed | Reading: 83 No. of readings: 193
| 12/2/2022 9:36:26 PM | Temperature | 30.0°C
| 12/2/2022 9:37:26 PM | Temperature | 30.1°C
| 12/2/2022 9:38:26 PM | Temperature | 30.0°C
| 12/2/2022 9:39:26 PM | Temperature | 30.0°C
| 12/2/2022 9:40:26 PM | Temperature | 30.0°C
| 12/2/2022 9:40:42 PM | Calibration | Fluorometric 1.05261 867391086
| 12/2/2022 9:40:46 PM | Kinetic reading changed | Reading: 84 No. of readings: 193
| 12/2/2022 9:41:26 PM | Temperature | 30.0°C
| 12/2/2022 9:42:26 PM | Temperature | 30.0°C
| 12/2/2022 9:43:26 PM | Temperature | 30.0°C
| 12/2/2022 9:44:26 PM | Temperature | 30.0°C
| 12/2/2022 9:45:26 PM | Temperature | 30.0°C
| 12/2/2022 9:45:42 PM | Calibration | Fluorometric 1.05266 867421086
| 12/2/2022 9:45:46 PM | Kinetic reading changed | Reading: 85 No. of readings: 193
| 12/2/2022 9:46:26 PM | Temperature | 30.0°C
| 12/2/2022 9:47:26 PM | Temperature | 30.0°C
| 12/2/2022 9:48:26 PM | Temperature | 30.0°C
| 12/2/2022 9:49:26 PM | Temperature | 30.0°C
| 12/2/2022 9:50:26 PM | Temperature | 30.0°C
| 12/2/2022 9:50:42 PM | Calibration | Fluorometric 1.0526 867451086
| 12/2/2022 9:50:46 PM | Kinetic reading changed | Reading: 86 No. of readings: 193
| 12/2/2022 9:51:26 PM | Temperature | 30.0°C
| 12/2/2022 9:52:26 PM | Temperature | 30.1°C
| 12/2/2022 9:53:26 PM | Temperature | 30.0°C
| 12/2/2022 9:54:26 PM | Temperature | 30.0°C
| 12/2/2022 9:55:26 PM | Temperature | 30.0°C
| 12/2/2022 9:55:42 PM | Calibration | Fluorometric 1.05258 867481086
| 12/2/2022 9:55:46 PM | Kinetic reading changed | Reading: 87 No. of readings: 193
| 12/2/2022 9:56:26 PM | Temperature | 30.0°C
| 12/2/2022 9:57:26 PM | Temperature | 30.0°C
| 12/2/2022 9:58:26 PM | Temperature | 30.0°C
| 12/2/2022 9:59:26 PM | Temperature | 30.0°C
| 12/2/2022 10:00:26 PM | Temperature | 30.0°C
| 12/2/2022 10:00:42 PM | Calibration | Fluorometric 1.05262 867511086
| 12/2/2022 10:00:46 PM | Kinetic reading changed | Reading: 88 No. of readings: 193
| 12/2/2022 10:01:26 PM | Temperature | 30.0°C
| 12/2/2022 10:02:26 PM | Temperature | 30.0°C
| 12/2/2022 10:03:26 PM | Temperature | 30.0°C
| 12/2/2022 10:04:26 PM | Temperature | 30.0°C
| 12/2/2022 10:05:26 PM | Temperature | 30.0°C
| 12/2/2022 10:05:42 PM | Calibration | Fluorometric 1.0525 867541086
| 12/2/2022 10:05:46 PM | Kinetic reading changed | Reading: 89 No. of readings: 193
| 12/2/2022 10:06:26 PM | Temperature | 30.0°C
| 12/2/2022 10:07:26 PM | Temperature | 30.0°C
| 12/2/2022 10:08:26 PM | Temperature | 30.0°C
| 12/2/2022 10:09:26 PM | Temperature | 30.0°C
| 12/2/2022 10:10:26 PM | Temperature | 30.0°C
| 12/2/2022 10:10:42 PM | Calibration | Fluorometric 1.0525 867571086
| 12/2/2022 10:10:46 PM | Kinetic reading changed | Reading: 90 No. of readings: 193
| 12/2/2022 10:11:26 PM | Temperature | 30.0°C
| 12/2/2022 10:12:26 PM | Temperature | 30.0°C
| 12/2/2022 10:13:26 PM | Temperature | 30.0°C
| 12/2/2022 10:14:26 PM | Temperature | 30.0°C
| 12/2/2022 10:15:26 PM | Temperature | 30.0°C
| 12/2/2022 10:15:42 PM | Calibration | Fluorometric 1.05246 867601086
| 12/2/2022 10:15:46 PM | Kinetic reading changed | Reading: 91 No. of readings: 193
| 12/2/2022 10:16:26 PM | Temperature | 30.1°C
| 12/2/2022 10:17:26 PM | Temperature | 30.0°C
| 12/2/2022 10:18:26 PM | Temperature | 30.0°C
| 12/2/2022 10:19:26 PM | Temperature | 30.0°C
| 12/2/2022 10:20:26 PM | Temperature | 30.0°C
| 12/2/2022 10:20:42 PM | Calibration | Fluorometric 1.05238 867631086
| 12/2/2022 10:20:46 PM | Kinetic reading changed | Reading: 92 No. of readings: 193
| 12/2/2022 10:21:26 PM | Temperature | 30.0°C
| 12/2/2022 10:22:26 PM | Temperature | 30.0°C
| 12/2/2022 10:23:26 PM | Temperature | 30.0°C
| 12/2/2022 10:24:26 PM | Temperature | 30.0°C
| 12/2/2022 10:25:26 PM | Temperature | 30.0°C
| 12/2/2022 10:25:42 PM | Calibration | Fluorometric 1.05233 867661086
| 12/2/2022 10:25:46 PM | Kinetic reading changed | Reading: 93 No. of readings: 193
| 12/2/2022 10:26:26 PM | Temperature | 30.0°C
| 12/2/2022 10:27:26 PM | Temperature | 30.0°C
| 12/2/2022 10:28:26 PM | Temperature | 30.1°C
| 12/2/2022 10:29:26 PM | Temperature | 30.0°C
| 12/2/2022 10:30:26 PM | Temperature | 30.0°C
| 12/2/2022 10:30:42 PM | Calibration | Fluorometric 1.05248 867691086
| 12/2/2022 10:30:46 PM | Kinetic reading changed | Reading: 94 No. of readings: 193
| 12/2/2022 10:31:26 PM | Temperature | 30.0°C
| 12/2/2022 10:32:26 PM | Temperature | 30.0°C
| 12/2/2022 10:33:26 PM | Temperature | 30.0°C
| 12/2/2022 10:34:26 PM | Temperature | 30.0°C
| 12/2/2022 10:35:26 PM | Temperature | 30.0°C
| 12/2/2022 10:35:42 PM | Calibration | Fluorometric 1.05243 867721086
| 12/2/2022 10:35:46 PM | Kinetic reading changed | Reading: 95 No. of readings: 193
| 12/2/2022 10:36:26 PM | Temperature | 30.0°C
| 12/2/2022 10:37:26 PM | Temperature | 30.0°C
| 12/2/2022 10:38:26 PM | Temperature | 30.0°C
| 12/2/2022 10:39:26 PM | Temperature | 30.0°C
| 12/2/2022 10:40:26 PM | Temperature | 30.0°C
| 12/2/2022 10:40:42 PM | Calibration | Fluorometric 1.05248 867751086
| 12/2/2022 10:40:46 PM | Kinetic reading changed | Reading: 96 No. of readings: 193
| 12/2/2022 10:41:26 PM | Temperature | 30.0°C
| 12/2/2022 10:42:26 PM | Temperature | 30.0°C
| 12/2/2022 10:43:26 PM | Temperature | 30.0°C
| 12/2/2022 10:44:26 PM | Temperature | 30.0°C
| 12/2/2022 10:45:26 PM | Temperature | 30.0°C
| 12/2/2022 10:45:42 PM | Calibration | Fluorometric 1.05253 867781086
| 12/2/2022 10:45:46 PM | Kinetic reading changed | Reading: 97 No. of readings: 193
| 12/2/2022 10:46:26 PM | Temperature | 30.0°C
| 12/2/2022 10:47:26 PM | Temperature | 30.0°C
| 12/2/2022 10:48:26 PM | Temperature | 30.0°C
| 12/2/2022 10:49:26 PM | Temperature | 30.0°C
| 12/2/2022 10:50:26 PM | Temperature | 30.0°C
| 12/2/2022 10:50:42 PM | Calibration | Fluorometric 1.05248 867811086
| 12/2/2022 10:50:46 PM | Kinetic reading changed | Reading: 98 No. of readings: 193
| 12/2/2022 10:51:26 PM | Temperature | 30.0°C
| 12/2/2022 10:52:26 PM | Temperature | 30.0°C
| 12/2/2022 10:53:26 PM | Temperature | 30.0°C
| 12/2/2022 10:54:26 PM | Temperature | 30.0°C
| 12/2/2022 10:55:26 PM | Temperature | 30.0°C
| 12/2/2022 10:55:42 PM | Calibration | Fluorometric 1.05253 867841086
| 12/2/2022 10:55:46 PM | Kinetic reading changed | Reading: 99 No. of readings: 193
| 12/2/2022 10:56:26 PM | Temperature | 30.0°C
| 12/2/2022 10:57:26 PM | Temperature | 30.0°C
| 12/2/2022 10:58:26 PM | Temperature | 30.0°C
| 12/2/2022 10:59:26 PM | Temperature | 30.0°C
| 12/2/2022 11:00:26 PM | Temperature | 30.0°C
| 12/2/2022 11:00:42 PM | Calibration | Fluorometric 1.05264 867871086
| 12/2/2022 11:00:46 PM | Kinetic reading changed | Reading: 100 No. of readings: 193
| 12/2/2022 11:01:26 PM | Temperature | 30.0°C
| 12/2/2022 11:02:26 PM | Temperature | 30.0°C
| 12/2/2022 11:03:26 PM | Temperature | 30.1°C
| 12/2/2022 11:04:26 PM | Temperature | 30.0°C
| 12/2/2022 11:05:26 PM | Temperature | 30.0°C
| 12/2/2022 11:05:42 PM | Calibration | Fluorometric 1.05259 867901086
| 12/2/2022 11:05:46 PM | Kinetic reading changed | Reading: 101 No. of readings: 193
| 12/2/2022 11:06:26 PM | Temperature | 30.0°C
| 12/2/2022 11:07:26 PM | Temperature | 30.0°C
| 12/2/2022 11:08:26 PM | Temperature | 30.0°C
| 12/2/2022 11:09:26 PM | Temperature | 30.0°C
| 12/2/2022 11:10:26 PM | Temperature | 30.0°C
| 12/2/2022 11:10:42 PM | Calibration | Fluorometric 1.05259 867931086
| 12/2/2022 11:10:46 PM | Kinetic reading changed | Reading: 102 No. of readings: 193
| 12/2/2022 11:11:26 PM | Temperature | 30.0°C
| 12/2/2022 11:12:26 PM | Temperature | 30.0°C
| 12/2/2022 11:13:26 PM | Temperature | 30.0°C
| 12/2/2022 11:14:26 PM | Temperature | 30.0°C
| 12/2/2022 11:15:26 PM | Temperature | 30.0°C
| 12/2/2022 11:15:42 PM | Calibration | Fluorometric 1.05268 867961086
| 12/2/2022 11:15:46 PM | Kinetic reading changed | Reading: 103 No. of readings: 193
| 12/2/2022 11:16:26 PM | Temperature | 30.0°C
| 12/2/2022 11:17:26 PM | Temperature | 30.0°C
| 12/2/2022 11:18:26 PM | Temperature | 30.0°C
| 12/2/2022 11:19:26 PM | Temperature | 30.0°C
| 12/2/2022 11:20:26 PM | Temperature | 30.0°C
| 12/2/2022 11:20:42 PM | Calibration | Fluorometric 1.05265 867991086
| 12/2/2022 11:20:46 PM | Kinetic reading changed | Reading: 104 No. of readings: 193
| 12/2/2022 11:21:26 PM | Temperature | 30.1°C
| 12/2/2022 11:22:26 PM | Temperature | 30.1°C
| 12/2/2022 11:23:26 PM | Temperature | 30.0°C
| 12/2/2022 11:24:26 PM | Temperature | 30.0°C
| 12/2/2022 11:25:26 PM | Temperature | 30.0°C
| 12/2/2022 11:25:42 PM | Calibration | Fluorometric 1.05259 868021086
| 12/2/2022 11:25:46 PM | Kinetic reading changed | Reading: 105 No. of readings: 193
| 12/2/2022 11:26:26 PM | Temperature | 30.1°C
| 12/2/2022 11:27:26 PM | Temperature | 30.0°C
| 12/2/2022 11:28:26 PM | Temperature | 30.0°C
| 12/2/2022 11:29:26 PM | Temperature | 30.0°C
| 12/2/2022 11:30:26 PM | Temperature | 30.0°C
| 12/2/2022 11:30:42 PM | Calibration | Fluorometric 1.05261 868051086
| 12/2/2022 11:30:46 PM | Kinetic reading changed | Reading: 106 No. of readings: 193
| 12/2/2022 11:31:26 PM | Temperature | 30.0°C
| 12/2/2022 11:32:26 PM | Temperature | 30.0°C
| 12/2/2022 11:33:26 PM | Temperature | 30.0°C
| 12/2/2022 11:34:26 PM | Temperature | 30.0°C
| 12/2/2022 11:35:26 PM | Temperature | 30.0°C
| 12/2/2022 11:35:42 PM | Calibration | Fluorometric 1.05246 868081086
| 12/2/2022 11:35:46 PM | Kinetic reading changed | Reading: 107 No. of readings: 193
| 12/2/2022 11:36:26 PM | Temperature | 30.0°C
| 12/2/2022 11:37:26 PM | Temperature | 30.0°C
| 12/2/2022 11:38:26 PM | Temperature | 30.0°C
| 12/2/2022 11:39:26 PM | Temperature | 30.0°C
| 12/2/2022 11:40:26 PM | Temperature | 30.0°C
| 12/2/2022 11:40:42 PM | Calibration | Fluorometric 1.05241 868111086
| 12/2/2022 11:40:46 PM | Kinetic reading changed | Reading: 108 No. of readings: 193
| 12/2/2022 11:41:26 PM | Temperature | 30.0°C
| 12/2/2022 11:42:26 PM | Temperature | 30.0°C
| 12/2/2022 11:43:26 PM | Temperature | 30.0°C
| 12/2/2022 11:44:26 PM | Temperature | 30.0°C
| 12/2/2022 11:45:26 PM | Temperature | 30.0°C
| 12/2/2022 11:45:42 PM | Calibration | Fluorometric 1.05237 868141086
| 12/2/2022 11:45:46 PM | Kinetic reading changed | Reading: 109 No. of readings: 193
| 12/2/2022 11:46:26 PM | Temperature | 30.0°C
| 12/2/2022 11:47:26 PM | Temperature | 30.0°C
| 12/2/2022 11:48:26 PM | Temperature | 30.0°C
| 12/2/2022 11:49:26 PM | Temperature | 30.0°C
| 12/2/2022 11:50:26 PM | Temperature | 30.0°C
| 12/2/2022 11:50:42 PM | Calibration | Fluorometric 1.05227 868171086
| 12/2/2022 11:50:46 PM | Kinetic reading changed | Reading: 110 No. of readings: 193
| 12/2/2022 11:51:26 PM | Temperature | 30.0°C
| 12/2/2022 11:52:26 PM | Temperature | 30.1°C
| 12/2/2022 11:53:26 PM | Temperature | 30.0°C
| 12/2/2022 11:54:26 PM | Temperature | 30.0°C
| 12/2/2022 11:55:26 PM | Temperature | 30.1°C
| 12/2/2022 11:55:42 PM | Calibration | Fluorometric 1.05223 868201086
| 12/2/2022 11:55:46 PM | Kinetic reading changed | Reading: 111 No. of readings: 193
| 12/2/2022 11:56:26 PM | Temperature | 30.0°C
| 12/2/2022 11:57:26 PM | Temperature | 30.0°C
| 12/2/2022 11:58:26 PM | Temperature | 30.0°C
| 12/2/2022 11:59:26 PM | Temperature | 30.0°C
| 12/3/2022 12:00:26 AM | Temperature | 30.0°C
| 12/3/2022 12:00:42 AM | Calibration | Fluorometric 1.05225 868231086
| 12/3/2022 12:00:46 AM | Kinetic reading changed | Reading: 112 No. of readings: 193
| 12/3/2022 12:01:26 AM | Temperature | 30.0°C
| 12/3/2022 12:02:26 AM | Temperature | 30.0°C
| 12/3/2022 12:03:26 AM | Temperature | 30.0°C
| 12/3/2022 12:04:26 AM | Temperature | 30.0°C
| 12/3/2022 12:05:26 AM | Temperature | 30.0°C
| 12/3/2022 12:05:42 AM | Calibration | Fluorometric 1.05244 868261086
| 12/3/2022 12:05:46 AM | Kinetic reading changed | Reading: 113 No. of readings: 193
| 12/3/2022 12:06:26 AM | Temperature | 30.0°C
| 12/3/2022 12:07:26 AM | Temperature | 30.0°C
| 12/3/2022 12:08:26 AM | Temperature | 30.0°C
| 12/3/2022 12:09:26 AM | Temperature | 30.0°C
| 12/3/2022 12:10:26 AM | Temperature | 30.0°C
| 12/3/2022 12:10:42 AM | Calibration | Fluorometric 1.05253 868291086
| 12/3/2022 12:10:46 AM | Kinetic reading changed | Reading: 114 No. of readings: 193
| 12/3/2022 12:11:26 AM | Temperature | 30.1°C
| 12/3/2022 12:12:26 AM | Temperature | 30.0°C
| 12/3/2022 12:13:26 AM | Temperature | 30.0°C
| 12/3/2022 12:14:26 AM | Temperature | 30.0°C
| 12/3/2022 12:15:26 AM | Temperature | 30.0°C
| 12/3/2022 12:15:42 AM | Calibration | Fluorometric 1.0527 868321086
| 12/3/2022 12:15:46 AM | Kinetic reading changed | Reading: 115 No. of readings: 193
| 12/3/2022 12:16:26 AM | Temperature | 30.0°C
| 12/3/2022 12:17:26 AM | Temperature | 30.0°C
| 12/3/2022 12:18:26 AM | Temperature | 30.0°C
| 12/3/2022 12:19:26 AM | Temperature | 30.0°C
| 12/3/2022 12:20:26 AM | Temperature | 30.0°C
| 12/3/2022 12:20:42 AM | Calibration | Fluorometric 1.05258 868351086
| 12/3/2022 12:20:46 AM | Kinetic reading changed | Reading: 116 No. of readings: 193
| 12/3/2022 12:21:26 AM | Temperature | 30.0°C
| 12/3/2022 12:22:26 AM | Temperature | 30.0°C
| 12/3/2022 12:23:26 AM | Temperature | 30.0°C
| 12/3/2022 12:24:26 AM | Temperature | 30.1°C
| 12/3/2022 12:25:26 AM | Temperature | 30.0°C
| 12/3/2022 12:25:42 AM | Calibration | Fluorometric 1.05239 868381086
| 12/3/2022 12:25:46 AM | Kinetic reading changed | Reading: 117 No. of readings: 193
| 12/3/2022 12:26:26 AM | Temperature | 30.0°C
| 12/3/2022 12:27:26 AM | Temperature | 30.1°C
| 12/3/2022 12:28:26 AM | Temperature | 30.1°C
| 12/3/2022 12:29:26 AM | Temperature | 30.0°C
| 12/3/2022 12:30:26 AM | Temperature | 30.0°C
| 12/3/2022 12:30:43 AM | Calibration | Fluorometric 1.05218 868411086
| 12/3/2022 12:30:46 AM | Kinetic reading changed | Reading: 118 No. of readings: 193
| 12/3/2022 12:31:26 AM | Temperature | 30.0°C
| 12/3/2022 12:32:26 AM | Temperature | 30.0°C
| 12/3/2022 12:33:26 AM | Temperature | 30.1°C
| 12/3/2022 12:34:26 AM | Temperature | 30.0°C
| 12/3/2022 12:35:26 AM | Temperature | 30.0°C
| 12/3/2022 12:35:43 AM | Calibration | Fluorometric 1.05226 868441086
| 12/3/2022 12:35:46 AM | Kinetic reading changed | Reading: 119 No. of readings: 193
| 12/3/2022 12:36:26 AM | Temperature | 30.0°C
| 12/3/2022 12:37:26 AM | Temperature | 30.0°C
| 12/3/2022 12:38:26 AM | Temperature | 30.0°C
| 12/3/2022 12:39:26 AM | Temperature | 30.0°C
| 12/3/2022 12:40:26 AM | Temperature | 30.0°C
| 12/3/2022 12:40:43 AM | Calibration | Fluorometric 1.05226 868471086
| 12/3/2022 12:40:46 AM | Kinetic reading changed | Reading: 120 No. of readings: 193
| 12/3/2022 12:41:26 AM | Temperature | 30.0°C
| 12/3/2022 12:42:26 AM | Temperature | 30.0°C
| 12/3/2022 12:43:26 AM | Temperature | 30.0°C
| 12/3/2022 12:44:26 AM | Temperature | 30.0°C
| 12/3/2022 12:45:26 AM | Temperature | 30.0°C
| 12/3/2022 12:45:43 AM | Calibration | Fluorometric 1.05238 868501086
| 12/3/2022 12:45:46 AM | Kinetic reading changed | Reading: 121 No. of readings: 193
| 12/3/2022 12:46:26 AM | Temperature | 30.0°C
| 12/3/2022 12:47:26 AM | Temperature | 30.0°C
| 12/3/2022 12:48:26 AM | Temperature | 30.0°C
| 12/3/2022 12:49:26 AM | Temperature | 30.0°C
| 12/3/2022 12:50:26 AM | Temperature | 30.0°C
| 12/3/2022 12:50:43 AM | Calibration | Fluorometric 1.05247 868531086
| 12/3/2022 12:50:46 AM | Kinetic reading changed | Reading: 122 No. of readings: 193
| 12/3/2022 12:51:26 AM | Temperature | 30.0°C
| 12/3/2022 12:52:26 AM | Temperature | 30.1°C
| 12/3/2022 12:53:26 AM | Temperature | 30.0°C
| 12/3/2022 12:54:26 AM | Temperature | 30.1°C
| 12/3/2022 12:55:26 AM | Temperature | 30.1°C
| 12/3/2022 12:55:43 AM | Calibration | Fluorometric 1.05254 868561086
| 12/3/2022 12:55:46 AM | Kinetic reading changed | Reading: 123 No. of readings: 193
| 12/3/2022 12:56:26 AM | Temperature | 30.0°C
| 12/3/2022 12:57:26 AM | Temperature | 30.1°C
| 12/3/2022 12:58:26 AM | Temperature | 30.0°C
| 12/3/2022 12:59:26 AM | Temperature | 30.0°C
| 12/3/2022 1:00:26 AM | Temperature | 30.1°C
| 12/3/2022 1:00:43 AM | Calibration | Fluorometric 1.05239 868591086
| 12/3/2022 1:00:46 AM | Kinetic reading changed | Reading: 124 No. of readings: 193
| 12/3/2022 1:01:26 AM | Temperature | 30.0°C
| 12/3/2022 1:02:26 AM | Temperature | 30.0°C
| 12/3/2022 1:03:26 AM | Temperature | 30.0°C
| 12/3/2022 1:04:26 AM | Temperature | 30.0°C
| 12/3/2022 1:05:26 AM | Temperature | 30.0°C
| 12/3/2022 1:05:43 AM | Calibration | Fluorometric 1.0523 868621086
| 12/3/2022 1:05:46 AM | Kinetic reading changed | Reading: 125 No. of readings: 193
| 12/3/2022 1:06:26 AM | Temperature | 30.0°C
| 12/3/2022 1:07:26 AM | Temperature | 30.0°C
| 12/3/2022 1:08:26 AM | Temperature | 30.0°C
| 12/3/2022 1:09:26 AM | Temperature | 30.0°C
| 12/3/2022 1:10:26 AM | Temperature | 30.0°C
| 12/3/2022 1:10:43 AM | Calibration | Fluorometric 1.05242 868651086
| 12/3/2022 1:10:46 AM | Kinetic reading changed | Reading: 126 No. of readings: 193
| 12/3/2022 1:11:26 AM | Temperature | 30.0°C
| 12/3/2022 1:12:26 AM | Temperature | 30.0°C
| 12/3/2022 1:13:26 AM | Temperature | 30.1°C
| 12/3/2022 1:14:26 AM | Temperature | 30.0°C
| 12/3/2022 1:15:26 AM | Temperature | 30.0°C
| 12/3/2022 1:15:43 AM | Calibration | Fluorometric 1.05239 868681086
| 12/3/2022 1:15:46 AM | Kinetic reading changed | Reading: 127 No. of readings: 193
| 12/3/2022 1:16:26 AM | Temperature | 30.0°C
| 12/3/2022 1:17:26 AM | Temperature | 30.0°C
| 12/3/2022 1:18:26 AM | Temperature | 30.0°C
| 12/3/2022 1:19:26 AM | Temperature | 30.0°C
| 12/3/2022 1:20:26 AM | Temperature | 30.0°C
| 12/3/2022 1:20:43 AM | Calibration | Fluorometric 1.05241 868711086
| 12/3/2022 1:20:46 AM | Kinetic reading changed | Reading: 128 No. of readings: 193
| 12/3/2022 1:21:26 AM | Temperature | 30.0°C
| 12/3/2022 1:22:26 AM | Temperature | 30.0°C
| 12/3/2022 1:23:26 AM | Temperature | 30.0°C
| 12/3/2022 1:24:26 AM | Temperature | 30.0°C
| 12/3/2022 1:25:26 AM | Temperature | 30.0°C
| 12/3/2022 1:25:43 AM | Calibration | Fluorometric 1.05249 868741086
| 12/3/2022 1:25:46 AM | Kinetic reading changed | Reading: 129 No. of readings: 193
| 12/3/2022 1:26:26 AM | Temperature | 30.0°C
| 12/3/2022 1:27:26 AM | Temperature | 30.0°C
| 12/3/2022 1:28:26 AM | Temperature | 30.0°C
| 12/3/2022 1:29:26 AM | Temperature | 30.1°C
| 12/3/2022 1:30:26 AM | Temperature | 30.0°C
| 12/3/2022 1:30:43 AM | Calibration | Fluorometric 1.05255 868771086
| 12/3/2022 1:30:46 AM | Kinetic reading changed | Reading: 130 No. of readings: 193
| 12/3/2022 1:31:26 AM | Temperature | 30.0°C
| 12/3/2022 1:32:26 AM | Temperature | 30.1°C
| 12/3/2022 1:33:26 AM | Temperature | 30.0°C
| 12/3/2022 1:34:26 AM | Temperature | 30.0°C
| 12/3/2022 1:35:26 AM | Temperature | 30.0°C
| 12/3/2022 1:35:43 AM | Calibration | Fluorometric 1.05257 868801086
| 12/3/2022 1:35:46 AM | Kinetic reading changed | Reading: 131 No. of readings: 193
| 12/3/2022 1:36:26 AM | Temperature | 30.0°C
| 12/3/2022 1:37:26 AM | Temperature | 30.0°C
| 12/3/2022 1:38:26 AM | Temperature | 30.0°C
| 12/3/2022 1:39:26 AM | Temperature | 30.0°C
| 12/3/2022 1:40:26 AM | Temperature | 30.0°C
| 12/3/2022 1:40:43 AM | Calibration | Fluorometric 1.05255 868831086
| 12/3/2022 1:40:46 AM | Kinetic reading changed | Reading: 132 No. of readings: 193
| 12/3/2022 1:41:26 AM | Temperature | 30.0°C
| 12/3/2022 1:42:26 AM | Temperature | 30.0°C
| 12/3/2022 1:43:26 AM | Temperature | 30.0°C
| 12/3/2022 1:44:26 AM | Temperature | 30.0°C
| 12/3/2022 1:45:26 AM | Temperature | 30.0°C
| 12/3/2022 1:45:43 AM | Calibration | Fluorometric 1.0526 868861086
| 12/3/2022 1:45:46 AM | Kinetic reading changed | Reading: 133 No. of readings: 193
| 12/3/2022 1:46:26 AM | Temperature | 30.0°C
| 12/3/2022 1:47:26 AM | Temperature | 30.0°C
| 12/3/2022 1:48:26 AM | Temperature | 30.0°C
| 12/3/2022 1:49:26 AM | Temperature | 30.0°C
| 12/3/2022 1:50:26 AM | Temperature | 30.0°C
| 12/3/2022 1:50:43 AM | Calibration | Fluorometric 1.05251 868891086
| 12/3/2022 1:50:46 AM | Kinetic reading changed | Reading: 134 No. of readings: 193
| 12/3/2022 1:51:26 AM | Temperature | 30.0°C
| 12/3/2022 1:52:26 AM | Temperature | 30.0°C
| 12/3/2022 1:53:26 AM | Temperature | 30.0°C
| 12/3/2022 1:54:26 AM | Temperature | 30.0°C
| 12/3/2022 1:55:26 AM | Temperature | 30.1°C
| 12/3/2022 1:55:43 AM | Calibration | Fluorometric 1.0525 868921086
| 12/3/2022 1:55:46 AM | Kinetic reading changed | Reading: 135 No. of readings: 193
| 12/3/2022 1:56:26 AM | Temperature | 30.1°C
| 12/3/2022 1:57:26 AM | Temperature | 30.0°C
| 12/3/2022 1:58:26 AM | Temperature | 30.0°C
| 12/3/2022 1:59:26 AM | Temperature | 30.0°C
| 12/3/2022 2:00:26 AM | Temperature | 30.0°C
| 12/3/2022 2:00:43 AM | Calibration | Fluorometric 1.05239 868951086
| 12/3/2022 2:00:46 AM | Kinetic reading changed | Reading: 136 No. of readings: 193
| 12/3/2022 2:01:26 AM | Temperature | 30.0°C
| 12/3/2022 2:02:26 AM | Temperature | 30.0°C
| 12/3/2022 2:03:26 AM | Temperature | 30.0°C
| 12/3/2022 2:04:26 AM | Temperature | 30.0°C
| 12/3/2022 2:05:26 AM | Temperature | 30.0°C
| 12/3/2022 2:05:43 AM | Calibration | Fluorometric 1.05243 868981086
| 12/3/2022 2:05:46 AM | Kinetic reading changed | Reading: 137 No. of readings: 193
| 12/3/2022 2:06:26 AM | Temperature | 30.1°C
| 12/3/2022 2:07:26 AM | Temperature | 30.0°C
| 12/3/2022 2:08:26 AM | Temperature | 30.0°C
| 12/3/2022 2:09:26 AM | Temperature | 30.0°C
| 12/3/2022 2:10:26 AM | Temperature | 30.0°C
| 12/3/2022 2:10:43 AM | Calibration | Fluorometric 1.05252 869011086
| 12/3/2022 2:10:46 AM | Kinetic reading changed | Reading: 138 No. of readings: 193
| 12/3/2022 2:11:26 AM | Temperature | 30.0°C
| 12/3/2022 2:12:26 AM | Temperature | 30.0°C
| 12/3/2022 2:13:26 AM | Temperature | 30.0°C
| 12/3/2022 2:14:26 AM | Temperature | 30.1°C
| 12/3/2022 2:15:26 AM | Temperature | 30.0°C
| 12/3/2022 2:15:43 AM | Calibration | Fluorometric 1.05264 869041086
| 12/3/2022 2:15:46 AM | Kinetic reading changed | Reading: 139 No. of readings: 193
| 12/3/2022 2:16:26 AM | Temperature | 30.1°C
| 12/3/2022 2:17:26 AM | Temperature | 30.0°C
| 12/3/2022 2:18:26 AM | Temperature | 30.0°C
| 12/3/2022 2:19:26 AM | Temperature | 30.0°C
| 12/3/2022 2:20:26 AM | Temperature | 30.0°C
| 12/3/2022 2:20:43 AM | Calibration | Fluorometric 1.05252 869071086
| 12/3/2022 2:20:46 AM | Kinetic reading changed | Reading: 140 No. of readings: 193
| 12/3/2022 2:21:26 AM | Temperature | 30.0°C
| 12/3/2022 2:22:26 AM | Temperature | 30.0°C
| 12/3/2022 2:23:26 AM | Temperature | 30.1°C
| 12/3/2022 2:24:26 AM | Temperature | 30.0°C
| 12/3/2022 2:25:26 AM | Temperature | 30.0°C
| 12/3/2022 2:25:43 AM | Calibration | Fluorometric 1.05263 869101086
| 12/3/2022 2:25:46 AM | Kinetic reading changed | Reading: 141 No. of readings: 193
| 12/3/2022 2:26:26 AM | Temperature | 30.0°C
| 12/3/2022 2:27:26 AM | Temperature | 30.0°C
| 12/3/2022 2:28:26 AM | Temperature | 30.0°C
| 12/3/2022 2:29:26 AM | Temperature | 30.0°C
| 12/3/2022 2:30:26 AM | Temperature | 30.0°C
| 12/3/2022 2:30:43 AM | Calibration | Fluorometric 1.05275 869131086
| 12/3/2022 2:30:46 AM | Kinetic reading changed | Reading: 142 No. of readings: 193
| 12/3/2022 2:31:26 AM | Temperature | 30.0°C
| 12/3/2022 2:32:26 AM | Temperature | 30.0°C
| 12/3/2022 2:33:26 AM | Temperature | 30.1°C
| 12/3/2022 2:34:26 AM | Temperature | 30.0°C
| 12/3/2022 2:35:26 AM | Temperature | 30.0°C
| 12/3/2022 2:35:43 AM | Calibration | Fluorometric 1.05268 869161086
| 12/3/2022 2:35:46 AM | Kinetic reading changed | Reading: 143 No. of readings: 193
| 12/3/2022 2:36:26 AM | Temperature | 30.0°C
| 12/3/2022 2:37:26 AM | Temperature | 30.0°C
| 12/3/2022 2:38:26 AM | Temperature | 30.0°C
| 12/3/2022 2:39:26 AM | Temperature | 30.1°C
| 12/3/2022 2:40:26 AM | Temperature | 30.1°C
| 12/3/2022 2:40:43 AM | Calibration | Fluorometric 1.05264 869191086
| 12/3/2022 2:40:46 AM | Kinetic reading changed | Reading: 144 No. of readings: 193
| 12/3/2022 2:41:26 AM | Temperature | 30.0°C
| 12/3/2022 2:42:26 AM | Temperature | 30.0°C
| 12/3/2022 2:43:26 AM | Temperature | 30.0°C
| 12/3/2022 2:44:26 AM | Temperature | 30.0°C
| 12/3/2022 2:45:26 AM | Temperature | 30.0°C
| 12/3/2022 2:45:43 AM | Calibration | Fluorometric 1.0527 869221086
| 12/3/2022 2:45:46 AM | Kinetic reading changed | Reading: 145 No. of readings: 193
| 12/3/2022 2:46:26 AM | Temperature | 30.0°C
| 12/3/2022 2:47:26 AM | Temperature | 30.0°C
| 12/3/2022 2:48:26 AM | Temperature | 30.0°C
| 12/3/2022 2:49:26 AM | Temperature | 30.0°C
| 12/3/2022 2:50:26 AM | Temperature | 30.0°C
| 12/3/2022 2:50:43 AM | Calibration | Fluorometric 1.05275 869251086
| 12/3/2022 2:50:46 AM | Kinetic reading changed | Reading: 146 No. of readings: 193
| 12/3/2022 2:51:26 AM | Temperature | 30.0°C
| 12/3/2022 2:52:26 AM | Temperature | 30.0°C
| 12/3/2022 2:53:26 AM | Temperature | 30.0°C
| 12/3/2022 2:54:26 AM | Temperature | 30.0°C
| 12/3/2022 2:55:26 AM | Temperature | 30.0°C
| 12/3/2022 2:55:43 AM | Calibration | Fluorometric 1.05268 869281086
| 12/3/2022 2:55:46 AM | Kinetic reading changed | Reading: 147 No. of readings: 193
| 12/3/2022 2:56:26 AM | Temperature | 30.0°C
| 12/3/2022 2:57:26 AM | Temperature | 30.0°C
| 12/3/2022 2:58:26 AM | Temperature | 30.0°C
| 12/3/2022 2:59:26 AM | Temperature | 30.0°C
| 12/3/2022 3:00:26 AM | Temperature | 30.0°C
| 12/3/2022 3:00:43 AM | Calibration | Fluorometric 1.05264 869311086
| 12/3/2022 3:00:46 AM | Kinetic reading changed | Reading: 148 No. of readings: 193
| 12/3/2022 3:01:26 AM | Temperature | 30.0°C
| 12/3/2022 3:02:26 AM | Temperature | 30.0°C
| 12/3/2022 3:03:26 AM | Temperature | 30.0°C
| 12/3/2022 3:04:26 AM | Temperature | 30.0°C
| 12/3/2022 3:05:26 AM | Temperature | 30.0°C
| 12/3/2022 3:05:43 AM | Calibration | Fluorometric 1.0526 869341086
| 12/3/2022 3:05:46 AM | Kinetic reading changed | Reading: 149 No. of readings: 193
| 12/3/2022 3:06:26 AM | Temperature | 30.0°C
| 12/3/2022 3:07:26 AM | Temperature | 30.0°C
| 12/3/2022 3:08:26 AM | Temperature | 30.0°C
| 12/3/2022 3:09:26 AM | Temperature | 30.0°C
| 12/3/2022 3:10:26 AM | Temperature | 30.0°C
| 12/3/2022 3:10:43 AM | Calibration | Fluorometric 1.05265 869371086
| 12/3/2022 3:10:46 AM | Kinetic reading changed | Reading: 150 No. of readings: 193
| 12/3/2022 3:11:26 AM | Temperature | 30.0°C
| 12/3/2022 3:12:26 AM | Temperature | 30.0°C
| 12/3/2022 3:13:26 AM | Temperature | 30.0°C
| 12/3/2022 3:14:26 AM | Temperature | 30.0°C
| 12/3/2022 3:15:26 AM | Temperature | 30.0°C
| 12/3/2022 3:15:43 AM | Calibration | Fluorometric 1.05258 869401086
| 12/3/2022 3:15:46 AM | Kinetic reading changed | Reading: 151 No. of readings: 193
| 12/3/2022 3:16:26 AM | Temperature | 30.0°C
| 12/3/2022 3:17:26 AM | Temperature | 30.0°C
| 12/3/2022 3:18:26 AM | Temperature | 30.0°C
| 12/3/2022 3:19:26 AM | Temperature | 30.0°C
| 12/3/2022 3:20:26 AM | Temperature | 30.0°C
| 12/3/2022 3:20:43 AM | Calibration | Fluorometric 1.05266 869431086
| 12/3/2022 3:20:46 AM | Kinetic reading changed | Reading: 152 No. of readings: 193
| 12/3/2022 3:21:26 AM | Temperature | 30.1°C
| 12/3/2022 3:22:26 AM | Temperature | 30.0°C
| 12/3/2022 3:23:26 AM | Temperature | 30.0°C
| 12/3/2022 3:24:26 AM | Temperature | 30.0°C
| 12/3/2022 3:25:26 AM | Temperature | 30.0°C
| 12/3/2022 3:25:43 AM | Calibration | Fluorometric 1.05269 869461086
| 12/3/2022 3:25:46 AM | Kinetic reading changed | Reading: 153 No. of readings: 193
| 12/3/2022 3:26:26 AM | Temperature | 30.0°C
| 12/3/2022 3:27:26 AM | Temperature | 30.0°C
| 12/3/2022 3:28:26 AM | Temperature | 30.0°C
| 12/3/2022 3:29:26 AM | Temperature | 30.0°C
| 12/3/2022 3:30:26 AM | Temperature | 30.1°C
| 12/3/2022 3:30:43 AM | Calibration | Fluorometric 1.05272 869491086
| 12/3/2022 3:30:46 AM | Kinetic reading changed | Reading: 154 No. of readings: 193
| 12/3/2022 3:31:26 AM | Temperature | 30.0°C
| 12/3/2022 3:32:26 AM | Temperature | 30.1°C
| 12/3/2022 3:33:26 AM | Temperature | 30.0°C
| 12/3/2022 3:34:26 AM | Temperature | 30.0°C
| 12/3/2022 3:35:26 AM | Temperature | 30.0°C
| 12/3/2022 3:35:43 AM | Calibration | Fluorometric 1.0527 869521086
| 12/3/2022 3:35:46 AM | Kinetic reading changed | Reading: 155 No. of readings: 193
| 12/3/2022 3:36:26 AM | Temperature | 30.0°C
| 12/3/2022 3:37:26 AM | Temperature | 30.0°C
| 12/3/2022 3:38:26 AM | Temperature | 30.0°C
| 12/3/2022 3:39:26 AM | Temperature | 30.0°C
| 12/3/2022 3:40:26 AM | Temperature | 30.0°C
| 12/3/2022 3:40:43 AM | Calibration | Fluorometric 1.0527 869551086
| 12/3/2022 3:40:46 AM | Kinetic reading changed | Reading: 156 No. of readings: 193
| 12/3/2022 3:41:26 AM | Temperature | 30.0°C
| 12/3/2022 3:42:26 AM | Temperature | 30.0°C
| 12/3/2022 3:43:26 AM | Temperature | 30.0°C
| 12/3/2022 3:44:26 AM | Temperature | 30.0°C
| 12/3/2022 3:45:26 AM | Temperature | 30.0°C
| 12/3/2022 3:45:43 AM | Calibration | Fluorometric 1.05274 869581086
| 12/3/2022 3:45:46 AM | Kinetic reading changed | Reading: 157 No. of readings: 193
| 12/3/2022 3:46:26 AM | Temperature | 30.0°C
| 12/3/2022 3:47:26 AM | Temperature | 30.0°C
| 12/3/2022 3:48:26 AM | Temperature | 30.0°C
| 12/3/2022 3:49:26 AM | Temperature | 30.0°C
| 12/3/2022 3:50:26 AM | Temperature | 30.0°C
| 12/3/2022 3:50:43 AM | Calibration | Fluorometric 1.05284 869611086
| 12/3/2022 3:50:46 AM | Kinetic reading changed | Reading: 158 No. of readings: 193
| 12/3/2022 3:51:26 AM | Temperature | 30.0°C
| 12/3/2022 3:52:26 AM | Temperature | 30.0°C
| 12/3/2022 3:53:26 AM | Temperature | 30.0°C
| 12/3/2022 3:54:26 AM | Temperature | 30.0°C
| 12/3/2022 3:55:26 AM | Temperature | 30.0°C
| 12/3/2022 3:55:43 AM | Calibration | Fluorometric 1.0529 869641086
| 12/3/2022 3:55:46 AM | Kinetic reading changed | Reading: 159 No. of readings: 193
| 12/3/2022 3:56:26 AM | Temperature | 30.0°C
| 12/3/2022 3:57:26 AM | Temperature | 30.0°C
| 12/3/2022 3:58:26 AM | Temperature | 30.0°C
| 12/3/2022 3:59:26 AM | Temperature | 30.0°C
| 12/3/2022 4:00:26 AM | Temperature | 30.1°C
| 12/3/2022 4:00:43 AM | Calibration | Fluorometric 1.05305 869671086
| 12/3/2022 4:00:46 AM | Kinetic reading changed | Reading: 160 No. of readings: 193
| 12/3/2022 4:01:26 AM | Temperature | 30.0°C
| 12/3/2022 4:02:26 AM | Temperature | 30.0°C
| 12/3/2022 4:03:26 AM | Temperature | 30.0°C
| 12/3/2022 4:04:26 AM | Temperature | 30.0°C
| 12/3/2022 4:05:26 AM | Temperature | 30.0°C
| 12/3/2022 4:05:43 AM | Calibration | Fluorometric 1.05308 869701086
| 12/3/2022 4:05:46 AM | Kinetic reading changed | Reading: 161 No. of readings: 193
| 12/3/2022 4:06:26 AM | Temperature | 30.0°C
| 12/3/2022 4:07:26 AM | Temperature | 30.0°C
| 12/3/2022 4:08:26 AM | Temperature | 30.0°C
| 12/3/2022 4:09:26 AM | Temperature | 30.0°C
| 12/3/2022 4:10:26 AM | Temperature | 30.0°C
| 12/3/2022 4:10:43 AM | Calibration | Fluorometric 1.05304 869731086
| 12/3/2022 4:10:46 AM | Kinetic reading changed | Reading: 162 No. of readings: 193
| 12/3/2022 4:11:26 AM | Temperature | 30.0°C
| 12/3/2022 4:12:26 AM | Temperature | 30.0°C
| 12/3/2022 4:13:26 AM | Temperature | 30.0°C
| 12/3/2022 4:14:26 AM | Temperature | 30.0°C
| 12/3/2022 4:15:26 AM | Temperature | 30.1°C
| 12/3/2022 4:15:43 AM | Calibration | Fluorometric 1.05305 869761086
| 12/3/2022 4:15:46 AM | Kinetic reading changed | Reading: 163 No. of readings: 193
| 12/3/2022 4:16:26 AM | Temperature | 30.0°C
| 12/3/2022 4:17:26 AM | Temperature | 30.0°C
| 12/3/2022 4:18:26 AM | Temperature | 30.1°C
| 12/3/2022 4:19:26 AM | Temperature | 30.0°C
| 12/3/2022 4:20:26 AM | Temperature | 30.0°C
| 12/3/2022 4:20:43 AM | Calibration | Fluorometric 1.05303 869791086
| 12/3/2022 4:20:46 AM | Kinetic reading changed | Reading: 164 No. of readings: 193
| 12/3/2022 4:21:26 AM | Temperature | 30.0°C
| 12/3/2022 4:22:26 AM | Temperature | 30.0°C
| 12/3/2022 4:23:26 AM | Temperature | 30.0°C
| 12/3/2022 4:24:26 AM | Temperature | 30.0°C
| 12/3/2022 4:25:26 AM | Temperature | 30.0°C
| 12/3/2022 4:25:43 AM | Calibration | Fluorometric 1.05307 869821086
| 12/3/2022 4:25:46 AM | Kinetic reading changed | Reading: 165 No. of readings: 193
| 12/3/2022 4:26:26 AM | Temperature | 30.0°C
| 12/3/2022 4:27:26 AM | Temperature | 30.0°C
| 12/3/2022 4:28:26 AM | Temperature | 30.0°C
| 12/3/2022 4:29:26 AM | Temperature | 30.0°C
| 12/3/2022 4:30:26 AM | Temperature | 30.0°C
| 12/3/2022 4:30:43 AM | Calibration | Fluorometric 1.05293 869851086
| 12/3/2022 4:30:46 AM | Kinetic reading changed | Reading: 166 No. of readings: 193
| 12/3/2022 4:31:26 AM | Temperature | 30.0°C
| 12/3/2022 4:32:26 AM | Temperature | 30.0°C
| 12/3/2022 4:33:26 AM | Temperature | 30.0°C
| 12/3/2022 4:34:26 AM | Temperature | 30.0°C
| 12/3/2022 4:35:26 AM | Temperature | 30.0°C
| 12/3/2022 4:35:43 AM | Calibration | Fluorometric 1.05296 869881086
| 12/3/2022 4:35:46 AM | Kinetic reading changed | Reading: 167 No. of readings: 193
| 12/3/2022 4:36:26 AM | Temperature | 30.0°C
| 12/3/2022 4:37:26 AM | Temperature | 30.0°C
| 12/3/2022 4:38:26 AM | Temperature | 30.0°C
| 12/3/2022 4:39:26 AM | Temperature | 30.0°C
| 12/3/2022 4:40:26 AM | Temperature | 30.0°C
| 12/3/2022 4:40:43 AM | Calibration | Fluorometric 1.05283 869911086
| 12/3/2022 4:40:46 AM | Kinetic reading changed | Reading: 168 No. of readings: 193
| 12/3/2022 4:41:26 AM | Temperature | 30.0°C
| 12/3/2022 4:42:26 AM | Temperature | 30.0°C
| 12/3/2022 4:43:26 AM | Temperature | 30.0°C
| 12/3/2022 4:44:26 AM | Temperature | 30.0°C
| 12/3/2022 4:45:26 AM | Temperature | 30.0°C
| 12/3/2022 4:45:43 AM | Calibration | Fluorometric 1.0596 869941086
| 12/3/2022 4:45:46 AM | Kinetic reading changed | Reading: 169 No. of readings: 193
| 12/3/2022 4:46:26 AM | Temperature | 30.0°C
| 12/3/2022 4:47:26 AM | Temperature | 30.0°C
| 12/3/2022 4:48:26 AM | Temperature | 30.0°C
| 12/3/2022 4:49:26 AM | Temperature | 30.0°C
| 12/3/2022 4:50:26 AM | Temperature | 30.0°C
| 12/3/2022 4:50:43 AM | Calibration | Fluorometric 1.05828 869971086
| 12/3/2022 4:50:46 AM | Kinetic reading changed | Reading: 170 No. of readings: 193
| 12/3/2022 4:51:26 AM | Temperature | 30.0°C
| 12/3/2022 4:52:26 AM | Temperature | 30.0°C
| 12/3/2022 4:53:26 AM | Temperature | 30.0°C
| 12/3/2022 4:54:26 AM | Temperature | 30.0°C
| 12/3/2022 4:55:26 AM | Temperature | 30.0°C
| 12/3/2022 4:55:43 AM | Calibration | Fluorometric 1.05698 870001086
| 12/3/2022 4:55:46 AM | Kinetic reading changed | Reading: 171 No. of readings: 193
| 12/3/2022 4:56:26 AM | Temperature | 30.0°C
| 12/3/2022 4:57:26 AM | Temperature | 30.0°C
| 12/3/2022 4:58:26 AM | Temperature | 30.0°C
| 12/3/2022 4:59:26 AM | Temperature | 30.0°C
| 12/3/2022 5:00:26 AM | Temperature | 30.0°C
| 12/3/2022 5:00:43 AM | Calibration | Fluorometric 1.05592 870031086
| 12/3/2022 5:00:46 AM | Kinetic reading changed | Reading: 172 No. of readings: 193
| 12/3/2022 5:01:26 AM | Temperature | 30.0°C
| 12/3/2022 5:02:26 AM | Temperature | 30.0°C
| 12/3/2022 5:03:26 AM | Temperature | 30.0°C
| 12/3/2022 5:04:26 AM | Temperature | 30.0°C
| 12/3/2022 5:05:26 AM | Temperature | 30.0°C
| 12/3/2022 5:05:43 AM | Calibration | Fluorometric 1.0546 870061086
| 12/3/2022 5:05:46 AM | Kinetic reading changed | Reading: 173 No. of readings: 193
| 12/3/2022 5:06:26 AM | Temperature | 30.0°C
| 12/3/2022 5:07:26 AM | Temperature | 30.0°C
| 12/3/2022 5:08:26 AM | Temperature | 30.0°C
| 12/3/2022 5:09:26 AM | Temperature | 30.0°C
| 12/3/2022 5:10:26 AM | Temperature | 30.0°C
| 12/3/2022 5:10:43 AM | Calibration | Fluorometric 1.05278 870091086
| 12/3/2022 5:10:46 AM | Kinetic reading changed | Reading: 174 No. of readings: 193
| 12/3/2022 5:11:26 AM | Temperature | 30.1°C
| 12/3/2022 5:12:26 AM | Temperature | 30.0°C
| 12/3/2022 5:13:26 AM | Temperature | 30.1°C
| 12/3/2022 5:14:26 AM | Temperature | 30.0°C
| 12/3/2022 5:15:26 AM | Temperature | 30.0°C
| 12/3/2022 5:15:43 AM | Calibration | Fluorometric 1.05282 870121086
| 12/3/2022 5:15:46 AM | Kinetic reading changed | Reading: 175 No. of readings: 193
| 12/3/2022 5:16:26 AM | Temperature | 30.0°C
| 12/3/2022 5:17:26 AM | Temperature | 30.0°C
| 12/3/2022 5:18:26 AM | Temperature | 30.0°C
| 12/3/2022 5:19:26 AM | Temperature | 30.0°C
| 12/3/2022 5:20:26 AM | Temperature | 30.0°C
| 12/3/2022 5:20:43 AM | Calibration | Fluorometric 1.05293 870151086
| 12/3/2022 5:20:46 AM | Kinetic reading changed | Reading: 176 No. of readings: 193
| 12/3/2022 5:21:26 AM | Temperature | 30.0°C
| 12/3/2022 5:22:26 AM | Temperature | 30.0°C
| 12/3/2022 5:23:26 AM | Temperature | 30.0°C
| 12/3/2022 5:24:26 AM | Temperature | 30.0°C
| 12/3/2022 5:25:26 AM | Temperature | 30.0°C
| 12/3/2022 5:25:43 AM | Calibration | Fluorometric 1.05843 870181086
| 12/3/2022 5:25:46 AM | Kinetic reading changed | Reading: 177 No. of readings: 193
| 12/3/2022 5:26:26 AM | Temperature | 30.0°C
| 12/3/2022 5:27:26 AM | Temperature | 30.0°C
| 12/3/2022 5:28:26 AM | Temperature | 30.0°C
| 12/3/2022 5:29:26 AM | Temperature | 30.0°C
| 12/3/2022 5:30:26 AM | Temperature | 30.0°C
| 12/3/2022 5:30:43 AM | Calibration | Fluorometric 1.06361 870211086
| 12/3/2022 5:30:46 AM | Kinetic reading changed | Reading: 178 No. of readings: 193
| 12/3/2022 5:31:26 AM | Temperature | 30.0°C
| 12/3/2022 5:32:26 AM | Temperature | 30.0°C
| 12/3/2022 5:33:26 AM | Temperature | 30.0°C
| 12/3/2022 5:34:26 AM | Temperature | 30.0°C
| 12/3/2022 5:35:26 AM | Temperature | 30.0°C
| 12/3/2022 5:35:43 AM | Calibration | Fluorometric 1.06145 870241086
| 12/3/2022 5:35:46 AM | Kinetic reading changed | Reading: 179 No. of readings: 193
| 12/3/2022 5:36:26 AM | Temperature | 30.0°C
| 12/3/2022 5:37:26 AM | Temperature | 30.0°C
| 12/3/2022 5:38:26 AM | Temperature | 30.0°C
| 12/3/2022 5:39:26 AM | Temperature | 30.0°C
| 12/3/2022 5:40:26 AM | Temperature | 30.0°C
| 12/3/2022 5:40:43 AM | Calibration | Fluorometric 1.05937 870271086
| 12/3/2022 5:40:46 AM | Kinetic reading changed | Reading: 180 No. of readings: 193
| 12/3/2022 5:41:26 AM | Temperature | 30.0°C
| 12/3/2022 5:42:26 AM | Temperature | 30.0°C
| 12/3/2022 5:43:26 AM | Temperature | 30.0°C
| 12/3/2022 5:44:26 AM | Temperature | 30.0°C
| 12/3/2022 5:45:26 AM | Temperature | 30.0°C
| 12/3/2022 5:45:43 AM | Calibration | Fluorometric 1.05724 870301086
| 12/3/2022 5:45:46 AM | Kinetic reading changed | Reading: 181 No. of readings: 193
| 12/3/2022 5:46:26 AM | Temperature | 30.0°C
| 12/3/2022 5:47:26 AM | Temperature | 30.0°C
| 12/3/2022 5:48:26 AM | Temperature | 30.0°C
| 12/3/2022 5:49:26 AM | Temperature | 30.0°C
| 12/3/2022 5:50:26 AM | Temperature | 30.1°C
| 12/3/2022 5:50:43 AM | Calibration | Fluorometric 1.0546 870331086
| 12/3/2022 5:50:46 AM | Kinetic reading changed | Reading: 182 No. of readings: 193
| 12/3/2022 5:51:26 AM | Temperature | 30.0°C
| 12/3/2022 5:52:26 AM | Temperature | 30.0°C
| 12/3/2022 5:53:26 AM | Temperature | 30.0°C
| 12/3/2022 5:54:26 AM | Temperature | 30.0°C
| 12/3/2022 5:55:26 AM | Temperature | 30.0°C
| 12/3/2022 5:55:43 AM | Calibration | Fluorometric 1.0839 870361086
| 12/3/2022 5:55:46 AM | Kinetic reading changed | Reading: 183 No. of readings: 193
| 12/3/2022 5:56:26 AM | Temperature | 30.0°C
| 12/3/2022 5:57:26 AM | Temperature | 30.0°C
| 12/3/2022 5:58:26 AM | Temperature | 30.0°C
| 12/3/2022 5:59:26 AM | Temperature | 30.0°C
| 12/3/2022 6:00:26 AM | Temperature | 30.1°C
| 12/3/2022 6:00:43 AM | Calibration | Fluorometric 1.07947 870391086
| 12/3/2022 6:00:46 AM | Kinetic reading changed | Reading: 184 No. of readings: 193
| 12/3/2022 6:01:26 AM | Temperature | 30.0°C
| 12/3/2022 6:02:26 AM | Temperature | 30.0°C
| 12/3/2022 6:03:26 AM | Temperature | 30.0°C
| 12/3/2022 6:04:26 AM | Temperature | 30.0°C
| 12/3/2022 6:05:26 AM | Temperature | 30.0°C
| 12/3/2022 6:05:43 AM | Calibration | Fluorometric 1.07352 870421086
| 12/3/2022 6:05:46 AM | Kinetic reading changed | Reading: 185 No. of readings: 193
| 12/3/2022 6:06:26 AM | Temperature | 30.0°C
| 12/3/2022 6:07:26 AM | Temperature | 30.0°C
| 12/3/2022 6:08:26 AM | Temperature | 30.0°C
| 12/3/2022 6:09:26 AM | Temperature | 30.0°C
| 12/3/2022 6:10:26 AM | Temperature | 30.0°C
| 12/3/2022 6:10:43 AM | Calibration | Fluorometric 1.06749 870451086
| 12/3/2022 6:10:46 AM | Kinetic reading changed | Reading: 186 No. of readings: 193
| 12/3/2022 6:11:26 AM | Temperature | 30.0°C
| 12/3/2022 6:12:26 AM | Temperature | 30.0°C
| 12/3/2022 6:13:26 AM | Temperature | 30.0°C
| 12/3/2022 6:14:26 AM | Temperature | 30.0°C
| 12/3/2022 6:15:26 AM | Temperature | 30.0°C
| 12/3/2022 6:15:43 AM | Calibration | Fluorometric 1.10043 870481086
| 12/3/2022 6:15:46 AM | Kinetic reading changed | Reading: 187 No. of readings: 193
| 12/3/2022 6:16:26 AM | Temperature | 30.0°C
| 12/3/2022 6:17:26 AM | Temperature | 30.0°C
| 12/3/2022 6:18:26 AM | Temperature | 30.0°C
| 12/3/2022 6:19:26 AM | Temperature | 30.0°C
| 12/3/2022 6:20:26 AM | Temperature | 30.0°C
| 12/3/2022 6:20:43 AM | Calibration | Fluorometric 1.12538 870511086
| 12/3/2022 6:20:46 AM | Kinetic reading changed | Reading: 188 No. of readings: 193
| 12/3/2022 6:21:26 AM | Temperature | 30.0°C
| 12/3/2022 6:22:26 AM | Temperature | 30.0°C
| 12/3/2022 6:23:26 AM | Temperature | 30.0°C
| 12/3/2022 6:24:26 AM | Temperature | 30.0°C
| 12/3/2022 6:25:26 AM | Temperature | 30.0°C
| 12/3/2022 6:25:43 AM | Calibration | Fluorometric 1.14238 870541086
| 12/3/2022 6:25:46 AM | Kinetic reading changed | Reading: 189 No. of readings: 193
| 12/3/2022 6:26:26 AM | Temperature | 30.0°C
| 12/3/2022 6:27:27 AM | Temperature | 30.0°C
| 12/3/2022 6:28:27 AM | Temperature | 30.0°C
| 12/3/2022 6:29:27 AM | Temperature | 30.0°C
| 12/3/2022 6:30:27 AM | Temperature | 30.0°C
| 12/3/2022 6:30:43 AM | Calibration | Fluorometric 1.15176 870571086
| 12/3/2022 6:30:46 AM | Kinetic reading changed | Reading: 190 No. of readings: 193
| 12/3/2022 6:31:27 AM | Temperature | 30.0°C
| 12/3/2022 6:32:27 AM | Temperature | 30.0°C
| 12/3/2022 6:33:27 AM | Temperature | 30.1°C
| 12/3/2022 6:34:27 AM | Temperature | 30.0°C
| 12/3/2022 6:35:27 AM | Temperature | 30.0°C
| 12/3/2022 6:35:43 AM | Calibration | Fluorometric 1.12481 870601086
| 12/3/2022 6:35:46 AM | Kinetic reading changed | Reading: 191 No. of readings: 193
| 12/3/2022 6:36:27 AM | Temperature | 30.0°C
| 12/3/2022 6:37:27 AM | Temperature | 30.0°C
| 12/3/2022 6:38:27 AM | Temperature | 30.0°C
| 12/3/2022 6:39:27 AM | Temperature | 30.0°C
| 12/3/2022 6:40:27 AM | Temperature | 30.0°C
| 12/3/2022 6:40:43 AM | Calibration | Fluorometric 1.09496 870631086
| 12/3/2022 6:40:46 AM | Kinetic reading changed | Reading: 192 No. of readings: 193
| 12/3/2022 6:41:27 AM | Temperature | 30.0°C
| 12/3/2022 6:42:27 AM | Temperature | 30.0°C
| 12/3/2022 6:43:27 AM | Temperature | 30.0°C
| 12/3/2022 6:44:27 AM | Temperature | 30.0°C
| 12/3/2022 6:45:27 AM | Temperature | 30.0°C
| 12/3/2022 6:45:43 AM | Calibration | Fluorometric 1.10673 870661086
| 12/3/2022 6:45:46 AM | Kinetic reading changed | Reading: 193 No. of readings: 193
| 12/3/2022 6:45:46 AM | Step Fluorescence 1 ended
| 12/3/2022 6:45:46 AM | Step Kinetic Loop 1 ended
| 12/3/2022 6:45:46 AM | Temperature | 30.0°C
| 12/3/2022 6:45:57 AM | Session Trial Run 1 ended

## Layout definitions
Name | Plate 1
Plate template | Thermo NUNC, F-bottom, 384-well
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
A
B
C
D
E
F
G
H
I
J
K
L
M
N | [20 empty] | sfgfp0001 | sfgfp0002
[21 empty] | Group 1 | Group 1
[21 empty] | 1:1 | 1:1
O
P